	[image: image13.png]



	SINERGI Vol. xx, No. x, February 20xx: xxx-xxx http://publikasi.mercubuana.ac.id/index.php/sinergi http://doi.org/10.22441/sinergi.xxxx.x.xxx
	[image: image14.png]s SINERGI

PISSN: 1410-2331 e-ISSN: 2460-1217
VOL. 25, NO. 1, FEBRUARY 2021

‘Accredied SINTA 2 by KEMENRISTEKDIKTI, Decree No: 10E/KPTI2018







	SINERGI Vol. xx, No. x, xxxxxx 20xx: xxx-xxx


	p-ISSN: 1410-2331  e-ISSN: 2460-1217



	Drainage System Analysis Using Storm Water Management Model (SWMM) In Flood Mitigation Efforts In The Valley Area 
	[image: image1.jpg]®

Check for
updates







Ferial Asferizal1*, Mashuri2, Hotmida R Hasibuan3
1Department of Integrated Water Management Engineering, Faculty of Infrastructure and Regional Technology, Institute Technology Sumatera, South Lampung, Indonesia.
2 Department of Civil Engineering, Faculty of Infrastructure and Regional Technology, Institute Technology Sumatera, South Lampung, Indonesia.
	Abstract 

This research takes place in the North Siantar Subdistrict of Pematangsiantar City, where issues with the drainage system result in frequent flooding in the valley area. Previously, this phenomenon has not been extensively researched. The study aims to analyze infiltration wells on Bah Tongguran Street in the North Siantar Subdistrict of Pematangsiantar City through existing drainage simulation using SWMM software. Water pooling at this location leads to floods due to insufficient drainage capacity, exacerbated by the valley-shaped land contour and high population density. The simulation results, utilizing SWMM software with the Gumbel method for rainfall distribution and a 5-year return period, revealed that the channels on both sides of Bah Tongguran Street can not accommodate rainwater discharge. The dimensions of the existing drainage channel are b = 0.3 and h = 0.45. To address this issue, we propose the construction of infiltration wells with a diameter of 1.4 meters and a depth of 1.5 meters. The analysis determined that the infiltration wells would be 24 wells on the left and 21 on the right. These infiltration wells will be constructed using concrete pipes, with an effectiveness rate of 65% for the left side and 58% for the right. Through this intervention, our research aims to serve as a reference for planners designing infiltration wells in valley areas and as a resource for other researchers developing sustainable flood mitigation technologies.
This is an open access article under the CC BY-SA license
[image: image2.png](<) DO




	Keywords: 

Drainage; 

Infiltration Wells; 
SWMM; 

Valley Area;
Flood;
Article History:

Received: May 2, 2019

Revised: May 29, 2019

Accepted: June 2, 2019

Published: June 2, 2019

Corresponding Author:

Ferial Asferizal
Department of Integrated Water Management Engineering, Faculty of Infrastructure and Regional Technolgy, Institute Technology Sumatera, South Lampung, Indonesia
Email: ferial.asferizal1985@gmail.com



INTRODUCTION
Until now, no one has discussed infiltration wells as an alternative to flooding in valley areas inhabited by people. Essentially, valley areas have lower contours compared to the surrounding regions. Previous studies on planning infiltration wells are generally common, such as those conducted by Zainal (2023)[1] in residential areas, Molya (2023)[2] as an alternative to Eco-Drainage, and Nyoto (2022)[3] in the city of Jakarta. These studies focused on general research areas and were not specific to valley regions.

So far, soil infiltration rate tests have been conducted in the Kathmandu Valley, Nepal, which are still relevant to research in Asia. They used a Double Ring Infiltrometer and found that the infiltration rate depends on land use, with a decrease in water seepage corresponding to a decrease in permeable area[4]. Additionally, there is a scientific report on hydrogeological research in the southeastern part of New York. This research, conducted by the U.S. Geological Survey (USGS) in collaboration with the New York State Department of Environmental Conservation and the New York State Department of Health, aims to protect groundwater sources used for public water supply in several villages and communities in the region.[5]
However, there is still no research specifically addressing the use of infiltration wells in valley areas to mitigate floods. These studies are interconnected, as the use of infiltration wells is influenced by soil permeability. If soil infiltration conditions are impermeable, the use of infiltration well technology cannot be applied. Moreover, if groundwater conditions are less than half a meter from the soil surface, infiltration wells will not be effective. Furthermore, if the groundwater level is too high, infiltration wells run the risk of being contaminated by surface water that may be polluted by waste or pollutants.[6]
The study was carried out in the North Siantar Subdistrict, Pematangsiantar City, specifically chosen to assess drainage channels in response to recurrent waterlogging and flooding. The areas prone to flooding in the North Siantar Subdistrict include Bah Tongguran Street. Residents living around Bah Tongguran Street reported that the water level reached the calf of an adult, approximately 15-30 cm, and the flooding was characterized by stagnation without any flow.
Flooding in drainage channels resulted in road closures and disruptions to passing vehicles, endangering road users. Furthermore, it forced businesses around the area to close to prevent water damage, leading to financial losses. Citizen said that the flood depth on Bah Tongguran Street ranged from 15-20 cm, covering an area of 296 m².

The North Siantar Subdistrict is a densely populated commercial area with drainage issues that need to be addressed to prevent flood-related losses and disruptions to community activities. Therefore, this study aims to evaluate the performance of the drainage system by conducting hydrological and hydraulic analyses and simulating flow profiles using SWMM 5.1 (Storm Water Management Model) software to determine whether the capacity of the drainage channels is still able to accommodate the generated flow and runoff. This research also aims to identify methods for managing excess water and addressing flood issues in flood-prone areas of the North Siantar Subdistrict.
METHOD

The methodology of this research involves hydrological analysis, which includes calculating the average rainfall using algebraic method with a 5-year return period.[7]
[image: image3.png]Problem Formulation
Literature Review

Primary Data: Secondary Data:

1. Field Observation 1. Rainfall Data
(Condition and dimensions of existing 2. Administrative Map
drainage channels) 3. Land Use Map

2. Direction of Drainage Flow 4. Topographic Map

5

. Drainage Network System
6. Watershed Map
7. Unit Price of Works for Pematangsiantar City
8. Soil Permeability Coefficient

17

Analysis Stage:

1. Analysis of Rainfall Return Period

2. Rainfall Intensity of Design Return Period

3. Analysis of Flood Discharge for Design Return Period
4. Analysis of Planned Channel Dimmensions

17
Evaluation of Existing Drainage Channels Using
Storm Water Management Model (SWMM)

Planning of Infiltration Wells Repair Drainage Channel
(If Q existing > Q planned but Dimentions
Overflow Occurs) (If Q existing < Q planned)
17
Conclusion and

Recommendations |~





Figure 1. Flowchart of Research
[image: image4.png]Data:
-Area, width, %slope, %imperv, N-imperv, N-perv of subcatchment.
Elevation at Junction
Shape depth, width, lenght and Manning coefficient of conduit
Elevation at outfalls
Rainfall intensity

v

Inserting a backdrop image

onto the working page
vy
default setting and object property
(Id labels, Sub-catchment and Node/Links)
2
Drawing the physical network components of the study area
(Rain Gauge, Subcatchment, Junction, Conduit, and Outfall)
7

Inputting data for each component |

of the physical network

Selecting analysis settings
(Analysis time and duration of flow time)

12

Running the simulation

rror No
<5%
Yes

Simulation results summary
(Water levels and node flooding/overflow)

ode Flooding
Detected

Redesigning the Channel
(width and depth)

Simulation results summary





Figure 2. Flowchart of SWMM 5.1 Modeling
Analyzing rainfall frequency using normal, log-normal, Log Pearson III, and Gumbel methods, calculating rainfall intensity using the monobe method, and determining the design flood discharge using the rational method.[8] 
Hydraulic analysis is conducted by calculating the capacity of the drainage channels and simulating the hydrological and hydraulic processes using the SWMM (Storm Water Management Model)[9] software. Furthermore, improvements will be made to the flooded channels by redesigning the drainage system, and planning infiltration wells for these improvements. 
RESULTS AND DISCUSSION

Validation of Raifall
Based on the calculation results, the value of [image: image6.png]L)



[10] < critical Q is 0.69 < 1.14 and the value of [image: image8.png]L



[10] < critical Q is 0.93 < 1.28 with a 95% probability[11]. Therefore, the rainfall data for Bangun and Marihat is considered valid.
Table 1. Results of Validation Calculation for Rainfall Data in Bangun and Marihat
	Validation of Rainfall Data for Bangun and Marihat

	Year
	Xi
	Sk*
	SD2
	Sk**

	2012
	110,7
	34,54
	119,301
	2,19

	2013
	72,1
	-4,06
	1,65
	-0,26

	2014
	69,9
	-6,26
	3,92
	-0,40

	2015
	75,4
	-0,76
	0,06
	-0,05

	2016
	65,5
	-10,66
	11,36
	-0,67

	2017
	69,5
	-6,66
	4,44
	-0,42

	2018
	64,5
	-11,66
	13,60
	-0,74

	2019
	64
	-12,16
	14,79
	-0,77

	2020
	67
	-9,16
	8,39
	-0,58

	2021
	103
	26,84
	72,04
	1,70

	Average
	76,16
	Total
	249,54
	 

	Dev. Std.
	15,8
	Q
	2,19
	 

	Sk**max
	2,19
	R
	2,96
	 

	Sk**min
	-0,77
	
	
	 

	Q/(n^0,5)
	0,69
	With a Probability of 95%
	OK

	R/(n^0,5)
	0,93
	With a Probability of 95%
	OK


Rainfall Distribution
Based on the calculation results of rainfall dispersion using the algebraic method, it can be concluded that the distribution types that meet the criteria are the Gumbel distribution and the Log Pearson III distribution.
Table 2. Results of Rainfall Dispersion Calculation
	Distribution 

Type
	Requirement[12][13]
	Result of Calculation
	Conclusion

	Normal
	Cs = 0
	0,627
	Not Accepted

	
	Ck = 3
	3,825
	

	Log

Normal
	Cs = 3Cv
	0,310
	Not Accepted

	
	Cv = 0
	
	

	Gumbel
	Cs ≤ 1,14
	0,627
	Accepted

	
	Ck ≤ 5,4
	3,373
	

	Log Pearson III
	In addition to the values above
	-
	Accepted


Distribution Goodness-of-Fit Test

Table 3. Summary of Goodness-of-Fit Test
	Probability Distribution
	ΔP Calculated maximum
	ΔP Critical Maximum
	Description

	Summary of Chi-Square Goodness-of-Fit Test

	Gumbel
	3
	5,991
	Meets the criteria

	Log Pearson III
	3
	5,991
	Meets the criteria

	Summary of Smirnov-Kolmogorov Goodness-of-Fit Test[14]

	Gumbel
	0,0632
	0,41
	Meets the criteria

	Log Pearson III
	0,8953
	0,41
	Doesn’t meet the criteria


Based on the Chi-Square and Smirnov-Kolmogorov goodness-of-fit tests, it is found that the distribution that best fits the data is the Gumbel distribution. This is because the Gumbel distribution meets the criteria for both the Chi-Square and Smirnov-Kolmogorov goodness-of-fit tests[14]

ADDIN CSL_CITATION {"citationItems":[{"id":"ITEM-1","itemData":{"DOI":"10.33050/atm.v7i3.2134","ISSN":"2622-6812","abstract":"The Bringin River is a river in West Semarang, Semarang City, with the Tugu Region drainage subsystem. The Bringin watershed covers parts of the area in Tugu District, Ngaliyan District, and Mijen District. The overflow of water caused by high rainfall resulted in river flooding. The cross-section of the Bringin River cannot accommodate the magnitude of the flood discharge. The purpose of this study was to determine the cross-section of the Bringin River which was experiencing an overflow by carrying out a Hydrological Analysis and using the HEC-RAS 6.3.1 Program as a 1-dimensional cross-sectional design. Calculation of the planned flood discharge with periods of 2, 5, 10, 25, and 50 years using the Nakayasu Synthetic Unit Hydrograph method with a peak discharge Q2years : 52.45 m3/second, Q5years : 62.43 m3/second, Q10years: 68.44 m3/second, Q25years : 75.09 m3/second, and Q50years : 79.95 m3/second. The results of the calculation of the design discharge will be used in the HEC-RAS 6.3.1 programming so that from these results it can be seen that several cross-sections of the river have flood overflows that exceed the capacity of the Bringin River under review.","author":[{"dropping-particle":"","family":"Satria perdana","given":"Ananda","non-dropping-particle":"","parse-names":false,"suffix":""},{"dropping-particle":"","family":"Sejati","given":"Wahyu","non-dropping-particle":"","parse-names":false,"suffix":""}],"container-title":"APTISI Transactions on Management (ATM)","id":"ITEM-1","issue":"3","issued":{"date-parts":[["2023"]]},"page":"243-252","title":"Flood Water Level Simulation Bringin River, Semarang City By Using The HEC-RAS 6.3.1 Programming","type":"article-journal","volume":"7"},"uris":["http://www.mendeley.com/documents/?uuid=7716971b-b090-491b-ad02-8077dd0841ff"]}],"mendeley":{"formattedCitation":"[15]","plainTextFormattedCitation":"[15]","previouslyFormattedCitation":"[15]"},"properties":{"noteIndex":0},"schema":"https://github.com/citation-style-language/schema/raw/master/csl-citation.json"}[15].

Calculation of Rainfall Intensity

Calculation of rainfall intensity using the data that passed the previous test, which is the Gumbel distribution, using the Mononobe method[16].
Table 4. Results of Rainfall Intensity Calculation using the Mononobe method
	Duration
	Rainfall Intensity for Various Return Periods[17]

	
	2
	5
	10
	25
	50
	100

	Minute
	Hour
	60,9
	74,4
	83,4
	94,7
	103,1
	111,4

	5
	0,083
	110,7
	135,2
	151,5
	172,1
	187,3
	202,5

	10
	0,167
	69,7
	85,2
	95,4
	108,4
	118,0
	127,5

	15
	0,25
	53,2
	65,0
	72,8
	82,7
	90,0
	97,3

	30
	0,5
	33,5
	40,9
	45,9
	52,1
	56,7
	61,3

	60
	1
	25,6
	31,2
	35,0
	39,8
	43,2
	46,8

	120
	2
	21,1
	25,8
	28,9
	32,8
	35,7
	38,6

	720
	12
	12,0
	14,7
	16,4
	18,6
	20,3
	21,9

	1440
	24
	10,1
	12,4
	13,9
	15,8
	17,2
	18,61


Runoff Coefficient

The coefficient of runoff (C) is the ratio of peak runoff to rainfall intensity. The value of C is influenced by several main factors, including soil infiltration rate, slope of the land, vegetation cover, and rainfall intensity.[18][19] The flooded locations on Bah Tongguran roads consist of various land covers such as urban areas, residential areas, yards, and asphalt roads, with respective areas as shown in the following table:

Table 5. Area and Coefficient of Runoff for Each Land Cover
	Coefficient of Runoff Value

	Name
	Urban (km2)
	Asphalt Road 

(km2)
	Roof (km2)
	Yard (km2)
	Total Area (km2)
	Composite Value

	
	0,95
	0,95
	0,9
	0,1
	
	

	Bah Tongguran

	 Left Segment
	 
	0,0011
	0,0036
	0,0044
	0,0091
	0,516

	Right Segment
	 
	0,0011
	0,0040
	0,0042
	0,0093
	0,542


Based on the calculation of the coefficient of runoff, the coefficient of runoff for the left and right segments of Bah Tongguran road is 0.516 and 0.542, respectively.
Calculation of Planned Discharge

The calculated planned discharge is the planned discharge of the main channel in the left and right segments of Bah Tongguran road.

Table 6. Planned Discharge of Drainage Channel
	Planned Discharge of Drainage Channel

	Bah Tongguran

	Left Segment
	Intensity
	71,3114

	
	Area km2
	0,0091

	
	C
	0,5161

	
	Q plan
	0,0932

	Right Segment
	Intensity
	56,1579

	
	Area km2
	0,0093

	
	C
	0,5417

	
	Q plan
	0,0790


Based on the calculated intensity above, the planned discharge values for the left and right segments of Bah Tongguran road are 0.0932 m3/s and 0.0790 m3/s, respectively.
Hydraulic Analysis

The hydraulic analysis conducted involves calculating the discharge capacity of the main drainage channel on Bah Tongguran road.
Table 7. The comparison between the planned discharge (Qplanned)[20] and the channel discharge (Qchannel)[21]
	The comparison between the planned discharge (Qplanned) 

and the channel discharge (Qchannel)

	Flood Point
	Channel
	Q plan
	Q channel
	Description

	Bah Tongguran
	Left Segment
	0,0932
	0,2369
	No Flood

	
	Right Segment
	0,079
	0,1680
	No Flood


Based on the analysis of the drainage channel's capacity, it can be concluded that the channel segment on the left side of Bah Tongguran no flood, but no water can flow to the river, because it is valley area, that why flood happened at Bah Tongguran.

Modeling of Drainage Channel Using Storm Water Management Model (SWMM) 
The drainage channel modeling for Bah Tongguran Street is carried out with a 5-year return period. It consists of 2 subcatchments, 10 junctions, 10 conduits, and 2 outfalls. Subcatchments can be represented using the subcatchment button on the object toolbar. Based on the land use, the catchment area of Bah Tongguran Street consists of residential areas with asphalt roads. The N-impervious value for non-absorbent areas is 0.011, while the N-previous value for non-waterproof areas is 0.15, representing sparsely vegetated grassy land.
From the image below, it can be seen that at node JC7 in the main channel of the left segment of the drainage system on Bah Tongguran Street, it is unable to handle the water flow during the 5-year return period. This occurs because the location is in a valley or a concave contour, causing the water to be unable to flow and accumulate in that low-lying area. From the below diagram, it can be seen that at node JC3 in the main channel of the right segment of the drainage channel on Jalan Bah Tongguran, it is unable to accommodate water during the 5-year return period. This is also due to the location being in a valley or a contour that resembles a basin, causing water to stagnate and accumulate in that valley area.

[image: image9.png]OF1

SC2°

JC2! 1c9 IC3 Jca
"ce’ JC10 JCT JC8

SC1 7

loF2






Figure 6. Drainage Network Schema for Bah Tongguran Street

[image: image10.png]Elevation (m)

375

3745

374

3735

373

3725

372

37115

371

3705

370

3695

369

3685

368

JC6

JC10

Water Elevation Profile: Node JC8 - JC6

Jc7

JCs

200

190

180

170

160

150

140

130

120

110 100
Distance (m)

90

80

70

60

50

40

30

20 10 0

02/18/2023 01:30:00






Figure 7. Running SWMM for the 5-year return period at nodes JC6, JC7, JC8, and JC10
[image: image11.png]Elevation (m)

375

3745

374

3735

373

3725

372

3715

371

3705

370

3695

369

3685

368

3675

367

Jc2

Jco

Water Elevation Profile: Node JC4 - JC2

Nox)

JC4

200

190

180

170

160

150

140

130

120

110 100
Distance (m)

90

80

70

60

50

40

30

20 10 0

02/18/2023 01:30:00






Figure 8. Running SWMM for the 5-year return period at nodes JC2, JC3, JC4, and JC9

Handling Alternative for Waterlogging Using Infiltration Wells

In this research, there is a flood location point on Bah Tongguran Road, which has a topography like a basin or valley, making it impossible to redesign the drainage channel in that area to prevent floods because water will continue to accumulate in the valley area. Based on hydraulic calculations, the channel's flow rate (Q) is found to be higher than the Q planned flow rate, so the dimensions of the drainage channel are not the cause of the floods on Bah Tongguran Road. Therefore, improvement can be done by planning infiltration wells to collect and infiltrate water back into the ground, thereby reducing the burden on the drainage system. The planned infiltration wells on Bah Tongguran Road using the Sunjoto method[22] are as follows:

a. Shallow infiltration wells have a diameter of 1.4 m.

b. The height of the infiltration wells is 1.5 m.

c. The well walls use concrete pipes with a wall thickness of 10 cm.

d. The cover of the infiltration wells uses concrete pipes with a thickness of 10 cm.

e. The infiltration wells are filled with coconut coir (ijuk) 10 cm and gravel 20 cm to filter the water that will be absorbed into the ground[23].

f. The inlet pipe size is 110 mm in diameter.

g. The overflow pipe size is 110 mm in diameter.

h. The control basin uses square-shaped brick pairs with a width of 30 cm, a depth of 35 cm, and a brick thickness of 10 cm.

Type of Infiltration Wells

The water entering the well is rainwater conveyed from the house gutter. The horizontal gutter is a half-circle with a diameter of 8 inches, and the vertical gutter has a diameter of 4 inches. The planned layout determination is adjusted according to the Indonesian National Standard (SNI) 03-2453-2002[24]:

a. Distance from the house foundation to the infiltration well is 2 meters. 

b. Distance from the foundation to the control tank is 100 cm. 

c. Distance from the control tank to the infiltration well is 50 cm. 

d. Distance from the infiltration well to the tree is 3 meters.

Table 8. Infiltration Well Planning for Bah Tongguran Road.
	Location
	Diameter
	H = 1,5
	Number of Wells

	
	m
	(m)
	Piece

	Left Segment
	1,4
	1,5
	24

	Right Segment
	1,4
	1,5
	21


[image: image12.png]i

| 7 T
| T T
| 338 g
| i ) I
" Do
| il

T I 1 1]
B ES=SRE=SCE
—— ] _|d ] ) -
MJ JHQ,J ,“JHQ, | _“|~_ |

_“ 7 __ { 7 _“ { i ]
"”H __ L __ _ L __ _ ll
ﬂ _ |__H _ m |__H _“ ﬁJH






Figure 9. Top View of Infiltration Well Planning
Based on the table above, it is known that infiltration wells are planned with a diameter of 1.4 m and a depth of 1.5 m, totaling 24 wells on the left segment and 21 wells on the right segment of Bah Tongguran Road.

Table 9. Effectiveness of Infiltration Well
	Well Capacity
	Q planned
	Q well[25][26]
	Q runoff

	
	m3/s  
	m3/s  
	m3/s  

	Left Segment
	0,093
	0,061
	0,032

	Right Segment
	0,079
	0,046
	0,033

	
	
	
	

	Well Capacity
	Effectiveness
	Drainage Capacity

	
	%
	m3/s  

	Left Segment
	65
	0,24

	Right Segment
	58
	0,17


CONCLUSION

The conclusion drawn from this study is based on hydrological and hydraulic calculations, as well as modeling using SWMM software. There are two channels identified that cannot accommodate rainfall discharge, namely the left and right segments of Bah Tongguran Road. The cross-sectional capacity of the channels in Siantar Utara District was determined using hydraulic calculations. The left and right segments of Bah Tongguran Road have capacities of 0.2369 m3/s and 0.1680 m3/s, respectively. 
The flood control alternative for the left and right segments of Bah Tongguran Road involves planning the construction of 24 infiltration wells with a diameter of 1.4 m and a depth of 1.5 m in the left segment, and 21 wells in the right segment. The infiltration wells are planned using concrete pipes with an effectiveness of 65% in the left segment and 58% in the right segment.

REFERENCES
[1]
Z. E. Zainal, “Infiltration wells for various house types in the Kuranji catchment area, Padang City,” AIP Conference Proceedings, vol. 2691. 2023. doi: 10.1063/5.0114963.

[2]
R. Molya, “Infiltration Wells as an Alternative Eco Drainage System a Case Study in Mangkubumen Surakarta,” Lecture Notes in Civil Engineering, vol. 225. pp. 953–964, 2023. doi: 10.1007/978-981-16-9348-9_84.

[3]
R. L. V Nyoto, “Infiltration Wells Program in Jakarta: Twitter Sentiment Analysis,” 2022 1st International Conference on Information System and Information Technology, ICISIT 2022. pp. 352–357, 2022. doi: 10.1109/ICISIT54091.2022.9872911.

[4]
G. Shrestha, B. M. Shakya, M. B. Shrestha, and U. R. Khadka, “Water infiltration rate in the Kathmandu Valley of Nepal amidst present urbanization and land-use change,” H2Open J., vol. 6, no. 1, pp. 1–14, 2023, doi: 10.2166/h2oj.2023.044.

[5]
N. T. Corson-Dosch et al., “Areas Contributing Recharge to Priority Wells in Valley-fill Aquifers in the Neversink River and Rondout Creek Drainage Basins, New York,” USGS Sci. Investig. Rep., vol. 2022, pp. 1–50, 2022, doi: 10.3133/sir20215112.

[6]
L. A. Stenvik, B. O. Hilmo, and B. S. Frengstad, “Elevated manganese concentrations in groundwater wells after longtime abstraction with bank filtration: developing and testing of a sorption model for Ringerike waterworks, Norway,” Hydrogeol. J., vol. 30, no. 7, pp. 2059–2071, 2022, doi: 10.1007/s10040-022-02538-w.

[7]
A. M. AlAli, A. Salih, and A. Hassaballa, “Geospatial-Based Analytical Hierarchy Process (AHP) and Weighted Product Model (WPM) Techniques for Mapping and Assessing Flood Susceptibility in the Wadi Hanifah Drainage Basin, Riyadh Region, Saudi Arabia,” Water (Switzerland), vol. 15, no. 10, 2023, doi: 10.3390/w15101943.

[8]
R. Serang, “Overview of River over Drainage Channels in the Wailela River Watershed, Teluk Ambon District, Ambon City,” Int. J. Adv. Eng. Res. Sci., vol. 10, no. 2, pp. 029–047, 2023, doi: 10.22161/ijaers.102.4.

[9]
S. Vahida and S. N. Sahoo, “Urban Flood Estimation in Bhubaneswar city using Storm Water Management Model (SWMM),” 2022.

[10]
L. B. Firdauzi and U. Suarma, “Analysis of Rainfall Variability and Shifts in Season in Relation to the Rice Cultivation Period in Sleman Regency,” IOP Conf. Ser. Earth Environ. Sci., vol. 1233, no. 1, p. 012052, 2023, doi: 10.1088/1755-1315/1233/1/012052.

[11]
S. Bhattarai, P. B. Parajuli, and F. To, “Comparison of Flood Frequency at Different Climatic Scenarios in Forested Coastal Watersheds,” Climate, vol. 11, no. 2, 2023, doi: 10.3390/cli11020041.

[12]
M. H. Imaaduddiin, W. Utama, C. Jasikur, W. Lestari, and A. N. Aini, “Potential for Renewable Energy Generation from Water Sources in the Batang River Area,” Environ. Res. Eng. Manag., vol. 79, no. 1, pp. 80–89, 2023, doi: 10.5755/j01.erem.79.1.32482.

[13]
U. Agustin and M. A. P. Siregar, “Frequency Analysis of Deli River Flood Distribution Plan Using the Gumbel Probability Distribution Method,” Sinkron, vol. 8, no. 3, pp. 1474–1485, 2023, doi: 10.33395/sinkron.v8i3.12543.

[14]
R. R. Sari, V. Dermawan, and E. N. Cahya, “Implementation of Building Information Modeling ( BIM ) on Drainage Channel Design in UB Forest Sumberwangi Area,” vol. 14, no. 02, pp. 178–184, 2023.

[15]
A. Satria perdana and W. Sejati, “Flood Water Level Simulation Bringin River, Semarang City By Using The HEC-RAS 6.3.1 Programming,” APTISI Trans. Manag., vol. 7, no. 3, pp. 243–252, 2023, doi: 10.33050/atm.v7i3.2134.

[16]
T. Kristiawan and A. P. Irawan, “Analysis of Annual Rainfall Distribution and Planned Rain Intensity at 11 ( Eleven ) Rain Post Stations in Serang District,” vol. 06, no. 05, pp. 945–958, 2023.

[17]
Y. I. Sihombing, A. Rizaldi, M. Farid, N. F. Januriyadi, and I. R. Moe, “Jakarta’s 2020 New Year Flood Assessment with a Rainfall–Runoff–Inundation (RRI) Model,” p. 100, 2023, doi: 10.3390/ecws-7-14317.

[18]
A. F. A. Oraya, B. V. Alburo, M. K. S. Cauban, and J. B. Canene, “Roof Runoff Analysis: A Case for Cebu Technological University - Main Campus,” IOP Conf. Ser. Earth Environ. Sci., vol. 1184, no. 1, 2023, doi: 10.1088/1755-1315/1184/1/012015.

[19]
V. R. T. Picado and L. C. B. Chavarria, “Methodology for the Calculation of the Runoff Coefficient with the Arrangement Tirado,” Open J. Appl. Sci., vol. 13, no. 05, pp. 659–671, 2023, doi: 10.4236/ojapps.2023.135052.

[20]
M. Kencanawati, D. Iranata, and M. A. Maulana, “Hydrologic Modeling System HEC-HMS Application for Direct Runoff Determination,” J. Human, Earth, Futur., vol. 4, no. 2, pp. 153–165, 2023, doi: 10.28991/HEF-2023-04-02-02.

[21]
A. N. O. Fikri, H. T. Tjendani, and W. Oetomo, “Analysis of urban drainage system to avoid rain water overflow on the access road to Juanda Airport,” IOP Conf. Ser. Earth Environ. Sci., vol. 1195, no. 1, pp. 0–8, 2023, doi: 10.1088/1755-1315/1195/1/012045.

[22]
M. Imamuddin;, B. Al Hanif;, and A. D. Yuliansyah;, “UTILIZATION OF RAINWATER TO REDUCE WATER RUNOFF DISCHARGE IN THE KELAPA GADING PUMP BUILDING AREA USING THE SUNJOTO METHOD,” vol. 1, no. 1, pp. 40–52, 2023, doi: 10.24853/ijcei.1.1.40-52.

[23]
W. He et al., “Nutrient removal performance and microbial community analysis of amended bioretention column for rainwater runoff treatment,” J. Clean. Prod., vol. 374, p. 133974, Nov. 2022, doi: 10.1016/J.JCLEPRO.2022.133974.

[24]
L. E. Hutabarat and I. V. Simanjuntak, “Using bio-pore infiltration hole to reduce flooding in densely population communities of Jakarta and surrounding area,” IOSR J. Eng., vol. 12, no. 8, pp. 2278–8719, 2022, [Online]. Available: www.iosrjen.org

[25]
M. Situmorang, S. Setiyadi, and L. E. Hutabarat, “Infiltration wells utilizing watershed conservation for flood prevention,” IOP Conf. Ser. Earth Environ. Sci., vol. 878, no. 1, 2021, doi: 10.1088/1755-1315/878/1/012056.

[26]
C. Cahyono and P. A. Setyawan, “Drainage System Planning with Eco-Drainage Concept in Bumi Serpong Damai Housing Area (BSD),” E3S Web Conf., vol. 388, 2023, doi: 10.1051/e3sconf/202338801003.


	A. Adriansyah et al., Author Template for SINERGI 
	6


	4
	A. Adriansyah et al., Author Template for SINERGI


	A. Adriansyah et al., Author Template for SINERGI
	3



[image: image13.png][image: image14.png]