	[image: image10.png]



	SINERGI Vol. xx, No. x, February 20xx: xxx-xxx http://publikasi.mercubuana.ac.id/index.php/sinergi http://doi.org/10.22441/sinergi.xxxx.x.xxx
	[image: image11.png]s SINERGI

PISSN: 1410-2331 e-ISSN: 2460-1217
VOL. 25, NO. 1, FEBRUARY 2021

‘Accredied SINTA 2 by KEMENRISTEKDIKTI, Decree No: 10E/KPTI2018







	SINERGI Vol. xx, No. x, xxxxxx 20xx: xxx-xxx


	p-ISSN: 1410-2331  e-ISSN: 2460-1217



	COMPREHENSIVE SEISMIC EVALUATION OF EXISTING BUILDINGS USING ASCE 41-17 STANDARDS
	[image: image1.jpg]®

Check for
updates







Tree Irma Dinda 1*, Anis Rosyidah 1, Jonathan Saputra 1 I Ketut Sucita 1
1 Department of Civil Engineering Politeknik Negeri Jakarta

	Abstract 

This study addresses the lack of comprehensive seismic evaluations for eight-story reinforced concrete buildings in high-seismic zones like Jakarta using the ASCE 41-17 standard. The research evaluates the seismic performance of a 35-year-old office building through a tiered analysis approach, including Tier 1, Tier 2, and Tier 3. The study aims to identify structural deficiencies and propose retrofitting measures to meet modern seismic standards. Defects in soft story behavior and overturning stability were among the five and fourteen items in the Tier 1 assessment that showed non-compliance.. In Tier 2, linear analysis revealed critical ductility demands, with Demand-to-Capacity Ratios (DCR) exceeding permissible limits in most structural elements. Nonlinear pushover analysis used in Tier 3 showed insufficient structural capacity to withstand high seismic loads. Maximum inter-story drifts in the X and Y directions were 2.321% and 2.319%, respectively, surpassing Life Safety standards. The findings indicate that the building's seismic performance is between Life Safety and Collapse Prevention levels, emphasizing the urgent need for retrofitting to enhance resilience. This research provides a robust framework for integrating global standards and local seismic conditions to improve the safety and performance of existing structures in high-risk zones. 
This is an open access article under the CC BY-SA license
[image: image2.png](<) DO




	Keywords: 

seismic performance, ASCE 41-17, Tier analysis, retrofitting, structural evaluation
Article History:

Received: May 2, 2019

Revised: May 29, 2019

Accepted: June 2, 2019

Published: June 2, 2019
Corresponding Author:

Anis Rosyidah
Civil Engineering Department, Politeknik Negeri Jakarta, Indonesia

Email: anis.rosyidah@sipil.pnj.ac.id



INTRODUCTION 
Despite Indonesia's high seismic activity, no research explicitly addresses the comprehensive seismic evaluation of the country's existing eight-story reinforced concrete buildings using ASCE 41-17 standards. Previous studies have focused on specific materials, such as cold-formed steel structures [1] or industrial steel buildings [2], while reinforced concrete structures in high-seismic zones remain underexplored. These studies highlight interconnections between material properties, structural systems, and regional seismic hazards. However, the absence of a comprehensive assessment spanning Tier 1 to Tier 3 could result in critical structural vulnerabilities being overlooked. Furthermore, research focusing on standards like AISC 360-10   or local regulations like SNI 1726:2019 [3] often lacks broader applicability. It fails to address performance-based design for medium-rise buildings with moment-resisting frames [4]. This study aims to fill these gaps by thoroughly evaluating reinforced concrete structures in Jakarta integrating local seismic conditions with global standards to propose effective retrofitting strategies.

In 2023, Indonesia experienced 10,789 earthquakes, a significant increase from the annual average of 7,000 events [5]. Of these, 861 were felt, and 24 caused damage; fortunately, no fatalities were reported. With its dense population and over 3,400 buildings, Jakarta faces substantial seismic risks, as seen from events such as the magnitude 6.7 earthquake in January 2022 [6][7]. The vulnerability of buildings designed under outdated codes remains a pressing concern despite the evolution of Indonesia's seismic regulations, with the latest standard being SNI 1726:2019, which addresses increasing seismic intensity [8][9]. Seismic assessments that adhere to international standards like ASCE 41-17 are essential to ensure existing buildings' safety and structural resilience [10].
Various techniques are available for seismic assessments, including non-destructive testing, dynamic analysis, and static analysis [11]. Dynamic analysis models real-time ground motion interactions, capturing complex mass and stiffness structural behaviors, making it valuable for understanding responses under seismic conditions. On the other hand, static analysis applies equivalent static forces to evaluate structural responses, making it more suitable for more superficial structures and initial assessments. Combined, these methods offer a comprehensive framework for assessing and enhancing the structural resilience of earthquake-prone buildings [12]. Non-destructive testing assesses structural and material conditions without causing damage, which is critical for aging buildings frequently affected by poor soil conditions, pollution, or past seismic events, especially in cities like Jakarta [13]

ADDIN CSL_CITATION {"citationItems":[{"id":"ITEM-1","itemData":{"DOI":"10.3390/buildings13040918","ISSN":"20755309","abstract":"The development of Structural Health Monitoring (SHM) and Non-Destructive Testing (NDT) techniques has rapidly evolved and matured over the past few decades. Advances in sensor technology have facilitated deploying SHM systems for large-scale structures and local NDT of structural members. Although both methods have been successfully applied to identify structural damage in various systems, Environmental and Operational Condition (EOC) variations can influence sensor measurements and mask damage signatures in the structural response. EOCs include environmental conditions, such as temperature, humidity, and wind, as well as operational conditions, such as mass loading, vibration, and boundary conditions. The effect of EOCs can significantly undermine the reliability and robustness of damage assessment technologies and limit their performance. Thus, successful SHM and NDT systems can compensate for changing EOCs. This paper provides a state-of-the-art review of the effects of EOCs on SHM and NDT systems. It presents recent developments in advanced sensing technology, signal processing, and analysis techniques that aim to eliminate the masking effect of EOC variations and increase the damage sensitivity and performance of SHM and NDT systems. The paper concludes with current research challenges, trends, and recommendations for future research directions.","author":[{"dropping-particle":"","family":"Keshmiry","given":"Ayoub","non-dropping-particle":"","parse-names":false,"suffix":""},{"dropping-particle":"","family":"Hassani","given":"Sahar","non-dropping-particle":"","parse-names":false,"suffix":""},{"dropping-particle":"","family":"Mousavi","given":"Mohsen","non-dropping-particle":"","parse-names":false,"suffix":""},{"dropping-particle":"","family":"Dackermann","given":"Ulrike","non-dropping-particle":"","parse-names":false,"suffix":""}],"container-title":"Buildings","id":"ITEM-1","issued":{"date-parts":[["2023"]]},"title":"Effects of Environmental and Operational Conditions on Structural Health Monitoring and Non-Destructive Testing: A Systematic Review","type":"article"},"uris":["http://www.mendeley.com/documents/?uuid=76cd53b0-2cfd-4cea-a998-cca2c01ba5c2"]}],"mendeley":{"formattedCitation":"[14]","plainTextFormattedCitation":"[14]","previouslyFormattedCitation":"[14]"},"properties":{"noteIndex":0},"schema":"https://github.com/citation-style-language/schema/raw/master/csl-citation.json"}[14]. Comprehensive evaluations and retrofitting measures are increasingly necessary to address vulnerabilities stemming from outdated designs and subpar construction standards [15].
ASCE 41-17, published by the American Society of Civil Engineers, provides a structured framework for assessing and retrofitting existing buildings to improve seismic resilience [16]. Its tiered methodology is integral to evaluating the performance and resilience of structures under seismic hazards. In Tier 1, visual inspections and basic calculations are performed to identify deficiencies and establish performance objectives aligned with the Basic Performance Objective for Existing Buildings (BPOE). Seismic hazards such as BSE-1E and BSE-2E are classified, with structural systems and material properties delineated for evaluation [17].

Tier 2 involves a more detailed assessment to address deficiencies identified in Tier 1. This phase employs linear static or dynamic analysis. While linear static analysis is applicable under simplified conditions, linear dynamic analysis incorporates factors such as elastic stiffness and viscous damping, providing a more accurate understanding of the building's response to seismic forces.

If deficiencies persist post-Tier 2, the process advances to Tier 3, which involves advanced nonlinear analyses such as pushover or time-history analysis. This tier thoroughly evaluates structural performance under extreme seismic conditions and the impact of proposed reinforcements. Ultimately, it ensures that all potential vulnerabilities are addressed effectively.

This systematic approach facilitates the development of targeted retrofitting strategies, enhancing the resilience of structures in seismically active regions. By integrating ASCE 41-17 standards with local seismic conditions, this study contributes to improved safety and structural performance, ensuring the longevity and robustness of critical infrastructure.
METHOD
This research methodology provides a comprehensive framework for assessing the seismic performance of an eight-story office building using the ASCE 41-17 standard. The process begins with problem formulation, followed by a literature review and data collection to establish the foundational inputs for analysis. Primary data is obtained through building surveys, material testing, and on-site inspections, which evaluate the building's physical condition and structural integrity. Secondary data includes analysis of as-built drawings, historical seismic records, and geotechnical reports to understand site-specific conditions better.

The seismic analysis progresses through a multi-tiered evaluation approach, as displayed in Figure 1. In Tier 1, an initial screening is conducted using ASCE 41-17 checklists to identify deficiencies such as soft stories or overturning instability. If deficiencies are found, Tier 2 is initiated, where a detailed linear analysis is performed using ETABS 19 software. This phase applies deformation-controlled and force-controlled criteria to evaluate structural components, with capacity calculations verified against ASCE 41-17 acceptance criteria (M-factors). If Tier 2 analysis still identifies unresolved deficiencies, the study proceeds to Tier 3. In this final tier, advanced nonlinear analysis methods, including pushover and time-history simulations, are utilized to determine the ultimate capacity of the structure and provide insight into its failure mechanisms.

[image: image3.jpg]b4
(o)

2

( Problem Formuation |
e
N J

Data Collection
S

@ Y
Primary Data Secondary Data:

1. Field Observation 1 As-Built Drawings
2. Material Testing

2. Historical Seismic Data
3. Direction of Structural Flow 3’ Soil/Geo-Benchmarking Data

[ Tier 1 Assessment |

Benchmark Building Standards

N
Select Checklists

(Mogel Existing Buitaing )

/ N
((compiete Checkists Accoraing to Benchmart |
‘L—m@gmnc.gs Fum\n7>m—¢

B B
(‘Proceed to Tier 2 Assessment )~ Gonclusion and Recommendations )
€ S

B

e N
Tier 2 Assessment
L 4

~
Complete Checklists with Identified Deficiencies

S —

Model Existing Building with Tier 2 Criteria
- Deformation-Controlled

Force-Controlled

Perform LDPILSP Analysis

- ~
| Calculate Capacity with Tier 2 Criteria (W-Factor) |

Yes,

Meets Tier 2 Criteria?

°

Perform Non-Linear Analysis
- Pushover
- Time History

v _g
( Propose Retrofitting Measures |

-
Conclusion and Recommendations




Figure 1
Flowchart of Research
Data

This research employs a structured methodology to assess the seismic performance of an eight-story office building in Jakarta using the ASCE 41-17 standard. The methodology begins with problem formulation, followed by a literature review and data collection to establish foundational inputs for the analysis. The building under study is located in Kuningan, Jakarta, and was constructed in 1989. It has a structural system designed as a Special Moment Resisting Frame (SMF) and utilizes reinforced concrete as the primary material. It has eight floors, an additional MEP floor, and elevations ranging from ±0.00 m (Ground Floor) to +37.1 m (MEP Floor). The geographic coordinates of the building are -6.37247 and 106.82640, placing it within a high-seismic-risk zone. The structural and material properties include:

1. Concrete strength (fc') is 21 MPa (as determined by material testing) (Table 1 – 4).

2. Reinforcement Strength (fy): 
· Diameter ≥ 12 mm: BJTD 39 or 390 MPa.
· Diameter < 12 mm: BJTP 24 or 240 MPa.

The structural dimensions and properties listed above were sourced from the building's as-built drawings and material testing records. These data are critical for creating an accurate ETABS model, calculating load combinations, and evaluating seismic performance. The data was used in Tier 1 for preliminary assessments.
Table 1
Dimensions and Concrete Strength of Columns

	Column Type
	Width (mm)
	Height (mm)
	Concrete strength (fc')

	C1
	900
	900
	21 MPa

	C2
	700
	700
	21 MPa

	C3
	500
	1100
	21 MPa

	C4
	500
	750
	21 MPa

	C5
	400
	400
	21 MPa

	C6
	260
	500
	21 MPa

	C7
	300
	300
	21 MPa


Table 2
Dimensions and Concrete Strength of Beams

	Beam Type
	Width (mm)
	Height (mm)
	Concrete strength (fc')

	B1
	250
	400
	21 MPa

	B2
	300
	500
	21 MPa

	B3
	400
	600
	21 MPa

	B4
	500
	500
	21 MPa

	B5
	250
	300
	21 MPa

	B6
	300
	600
	21 MPa

	B7
	400
	700
	21 MPa

	B8
	900
	1000
	21 MPa


Table 3
Dimensions and Concrete Strength of Slabs

	Slab Type
	Thickness (mm)
	Concrete strength (fc')
	Slab Type

	S1
	150
	21 MPa
	S1

	S2
	120
	21 MPa
	S2

	R1
	150
	21 MPa
	R1

	R2
	120
	21 MPa
	R2


Table 4
Dimensions and Concrete Strength of Shear Wall

	Shear Wall Type
	Thickness (mm)
	Concrete strength (fc')
	Shear Wall Type

	S
	150
	21 MPa
	S1


The research method incorporates a transparent research model, represented by a flowchart, which sequentially illustrates data collection, analysis, and evaluation steps. This structured approach is underpinned by theory development, integrating principles from ASCE 41-17 and SNI 1726:2019 standards to ensure compliance with international and local safety benchmarks. The study contributes scientifically by improving existing seismic assessment methodologies through a systematic application of tiered evaluations and by proposing retrofitting measures based on the findings. Additionally, the methodology supports the development of a performance-based seismic design framework that enhances structural resilience in high-seismic-risk zones.

By combining theory, model development, and practical applications, this research significantly contributes to the field of structural engineering. It integrates established theories and improvises on current assessment methods by tailoring them to site-specific conditions and modern software capabilities. The methodology ultimately offers a replicable framework for future seismic evaluations and retrofitting strategies, addressing a critical gap in the resilience of older buildings against seismic threats.

RESULTS AND DISCUSSION
Tier 1 Evaluation 


The Tier 1 process begins by benchmarking the existing building by developing a checklist tailored to the specific structure type under assessment (Table 5). This checklist acts as a fundamental tool to evaluate various components and conditions of the building, ensuring that critical factors pertinent to seismic performance are systematically addressed. The results derived from this checklist categorize the building's status into several outcomes, such as compliant, non-compliant, not applicable, and unknown.

These classifications are instrumental in identifying the areas that require further scrutiny and intervention. For instance, a "compliant" status indicates that the building meets the necessary seismic performance criteria. In contrast, a "non-compliant" status highlights deficiencies that need to be addressed in subsequent tiers of analysis. The "not applicable" status may pertain to building elements irrelevant to the seismic assessment, whereas "unknown" indicates areas where data is insufficient or unclear​.

This systematic evaluation process not only aids in determining the building's initial seismic resilience but also informs subsequent assessments necessary for retrofitting and enhancing overall structural performance.

Table 5
Benchmark for Existing Building Tier 1

	Category
	Details

	Building Risk Categories
	Risk Category II

	Performance Levels
	BSE-2E, Collapse Prevention (CP)

	Seismicity Levels
	Ss = 0.8032g and Sd1 = 0.3894g, High Seismicity

	Checklist Selection
	Basic Configuration Checklist, Structural Checklist for Collapse Prevention Performance


Table 6
Basic Configuration Checklist

	No
	Item Evaluated
	Status

	1
	Load Path
	C

	2
	Adjacent Buildings
	C

	3
	Mezzanine
	C

	4
	Weak Story
	C

	5
	Soft Story
	NC

	6
	Vertical Irregularity
	NC

	7
	Geometry
	NC

	8
	Mass
	NC

	9
	Torsion
	C

	10
	Liquefaction
	C

	11
	Slope Failure
	C

	12
	Surface Fault Rupture
	U

	13
	Racking
	NC

	14
	Foundation Tie-down
	C


Table 7
Collapse Prevention Structural Checklist for Concrete Frame (C1)

	No
	Item Evaluated
	Status

	1
	Redundancy
	C

	2
	Column Axial Stress
	NC

	3
	Concrete Columns
	C

	4
	Infill Walls
	C

	5
	Column Shear Stress
	NC

	6
	Flat Plate Frame
	C

	7
	Pre-tensioned Frame Elements
	C

	8
	Floating Columns
	C

	9
	Shear Failure
	NC

	10
	Substantial Column - Weak Beam
	NC

	11
	Beam Reinforcement
	C

	12
	Column Reinforcement Splice
	C

	13
	Beam Reinforcement Splice
	C

	14
	Column Tie Spacing
	NC

	15
	Beam Tie Spacing
	C

	16
	Deflection Compatibility
	C

	17
	Flat Plate
	C

	18
	Diaphragm Continuity
	C

	19
	Uplift Resistance in Poer/Pile Cap
	C


Table 8
Collapse Prevention Structural Checklist for Shearwall Frame (C2)

	No
	Item Evaluated
	Status

	1
	Shear Stress Check
	C

	3
	Shear Wall Anchors
	N/A

	4
	Load Transfer to Shear Wall
	C

	5
	Coupling Beams
	N/A

	6
	Diaphragm Continuity
	C

	7
	Openings in Shear Walls
	N/A

	8
	Uplift Pile Cap
	U



The Tier 1 assessment of the Collapse Prevention (CP) performance under BPOE BSE-2E classification for the Existing Building Building reveals significant non-compliance with ASCE 41-17 standards. Based on Table 1 – 4, out of 14 configuration checklist items evaluated, five items were non-compliant (NC), including soft story, vertical irregularity, geometry, mass, and racking. In contrast, one item, surface fault rupture, was classified as unknown (U). The remaining eight items were compliant (C): load path, adjacent buildings, mezzanine, torsion, liquefaction, slope failure, and foundation ties. These findings indicate that the building requires further evaluation through a Tier 2 assessment.


Based on Table 7, The Evaluation of the Existing Building Building's CP performance for C1 (Moment Frames) under ASCE 41-17 revealed 5 out of 19 items as non-compliant (NC). Non-compliance was primarily due to lower-than-expected material strength and inadequate column detailing, resulting in columns unable to resist shear stresses from seismic loads. The output highlights that improper stirrup placement could lead to column failure. Similarly, Table 7 shows several components failing to meet shear capacity due to improper detailing at beam-column joints and inadequate stirrup placement.


For C2 (Shear Walls), 3 out of 7 items were compliant (C), with one item classified as unknown (U) due to missing uplift pile cap details and three items deemed not applicable (N/A). These results suggest that while most shear wall components meet CP standards, further attention is required for unknown or non-relevant items to ensure optimal seismic performance.

Tier 2 Evaluation

The Tier 2 assessment applies seismic force scaling using modification factors following the ASCE 41-17 standards. These factors help identify the demand and force conditions acting on structural elements, including beams, columns, joints, and shear walls, as detailed in Table 6 – 8. This approach ensures that the evaluation accurately reflects the seismic performance and resilience of the structure under expected seismic load [18].
Table 9
Seismic Force Calculation Tier 2

	Direction
	Spectrum Response

	X
	16077.77

	Y
	15118.16


Table 9 displays the seismic force calculations obtained during the Tier 2 evaluation, showing spectral response values of 16,077.77 in the X direction and 15,118.16 in the Y direction. These values are derived from the short-period spectral response (Ss) and the 1-second spectral response (Sd1), scaled according to the site-specific seismic characteristics using Response Spectrum Analysis (RSA). This analysis is essential for estimating the lateral forces the structure must withstand during seismic events, ensuring adequate design for safety and stability  [3].

Table 10
Classification of Structural Component Actions (ASCE 41-17 Section C7.5)

	Komponen
	Deformation-Controlled Action
	Force-Controlled Action

	Momen Frame

	• Beam
	Moment (M)
	(V)

	• Column
	—
	P, V

	• Joints
	
	V

	Shear Wall
	M, V
	P

	Bracing Frame

	• Bracing
	P
	—

	• Beam
	—
	P

	• Column
	—
	P

	• Shear link
	V
	P, M

	Connections
	P, V, Mb
	P, V, M

	Diaphragms
	M, Vc
	P, V, M


Source: ASCE 41-17

The capacity of structural elements (Table 10) is analyzed using m-factors based on the type of component action. Beams, which use Deformation-Controlled Action, require m-factors that vary according to the ratio of ρ−ρ′/ρbal and transverse reinforcement. Columns and joints that use force-controlled action do not require m-factors. For shear walls, also using Deformation-Controlled Action, m-factors are determined based on confine boundary and component type, with different values for IO, LS, and CP conditions. All references are based on ASCE 41-17 [19].
Table 11
Relationship Between DCR Value and Ductility Requirements

	Maximum DCR or Displacement Ductility
	Description

	< 2
	Low ductility requirements

	2- 4
	Medium ductility requirements

	> 4
	High ductility requirements


Source: ASCE 41-17
Table 11 presents the correlation between the Demand-Capacity Ratio (DCR) values and the ductility requirements specified in the ASCE 41-17 guidelines. The DCR is a fundamental measure used to evaluate the seismic performance of structures, reflecting their ability to sustain deformations without significant damage.

DCR < 2: This category indicates low ductility requirements, suggesting that structures are designed to resist seismic loads with minimal deformation. Such structures are typically more rigid and may suit regions with lower seismic hazards.

DCR 2-4: Structures have medium ductility requirements in this range. It implies that they are expected to accommodate moderate levels of deformation while still maintaining structural integrity. This level of ductility is often deemed appropriate for areas with moderate seismic risk, where some damage may occur, but collapse is not anticipated.

DCR > 4: A DCR exceeding 4 signifies high ductility requirements. Structures in this category are engineered to endure substantial deformations during seismic events, allowing them to dissipate energy effectively and prevent catastrophic failure. This design approach is critical for buildings in seismically active zones with potential for significant ground movement [19].
Table 12
Beam Ductility Requirements Categories

	Beam Type
	Ductility Requirements
	DCR

	B 20x40
	High ductility requirements
	9,35799

	B 30x40
	High ductility requirements
	7,241566

	B 30x50
	High ductility requirements
	9,459187

	B 90x1000
	High ductility requirements
	7,640804

	B 40x60
	Medium ductility requirements
	3,51804

	B 40x70
	Medium ductility requirements
	2,605844

	B 25x40
	Low ductility requirements
	1,026568


Table 13
Column Ductility Requirements Categories

	Column Type
	Ductility Requirements
	DCR

	C 50 x 110
	High ductility requirements
	5.8946

	C 90
	High ductility requirements
	4.9093

	C 50 x 75
	Medium ductility requirements
	2.5152

	C 40 x 40
	Medium ductility requirements
	2.3423

	C 26 x 50
	Medium ductility requirements
	3.4005

	C 70
	Low ductility requirements
	0.9503

	C 30 x 30
	Low ductility requirements
	0.2980


Table 14
Joint Ductility Requirements Categories

	Joint
	Ductility Requirements
	Nilai DCR

	C 50 x 110
	Low ductility requirements
	1,6201

	C 90
	Low ductility requirements
	1,0927

	C 70
	Low ductility requirements
	0,8887

	C 50 x 75
	Low ductility requirements
	0,9264

	C 40 x 40
	Low ductility requirements
	0,6437

	C 26 x 50
	Low ductility requirements
	1,1330

	C 30 x 30
	Low ductility requirements
	0,8417


Table 15
Shear Wall Ductility Requirements Categories

	Shear Wall
	Ductility Requirements
	Nilai DCR

	W1=W3=W4=W6
	Low ductility requirements
	1,4020

	W2=W5
	Low ductility requirements
	1,1250



The Tier 2 assessment results indicate that several structural elements of the building require special attention, particularly those with high ductility demands. Beams, columns, joints, and shear walls with high Demand Capacity Ratios (DCR) are at significant risk of failure during an earthquake (Table 12 – 14). Therefore, additional reinforcement is necessary to increase ductility capacity and reduce the risk of collapse [20].


Beams such as B 20x40, B 30x40, B 30x50, and B 90x1000, which have high ductility demands, require immediate intervention to ensure structural safety (Table 12). Columns with high DCR values, such as C 50x110 and C 90, also need reinforcement to maintain the structure's stability (Table 13).

Furthermore, joints with low ductility demands (Table 14), such as C 50x110 and C 26x50, may become weak points in the structure if not reinforced. Shear walls in the low ductility category also require further evaluation and reinforcement to withstand significant lateral forces during an earthquake[21].
Tier 3 Evaluation


In Tier 3, a nonlinear analysis, specifically a pushover analysis, was conducted. The pushover curve represents the relationship between base shear force (V) and displacement at a reference point (δ) [22]. The analysis was performed in each orthogonal direction of the Existing Building using the following displacement control parameters:

1. Magnitude = 742 mm (2% of the total building height, 37,100 mm), meeting 150% of the displacement target.

2. Joint = Topmost node at the end of the concrete structure (Top Floor).


The moment-curvature curve of the beam is derived from the analysis results of the section designer in ETABS, which is simplified to align with the available moment-curvature column in the program. Meanwhile, the plastic shear hinge utilizes Shear V2—the pushover analysis results in Figure 2.

[image: image4.png]60000

50000

40000

30000

Base Shear (kN)

20000

10000

200

—4—Push X —@—PushY

300 400 500 600 700

Displacement (mm)

500




Figure 2
Story Displacement Base Shear


Displacement tends to increase from the lower floors to the topmost floor, with the highest value recorded at the R. MEP roof. In the X direction, the maximum displacement is 59.104 mm at the R. MEP roof, while in the Y direction, the highest value is 59.297 mm at the same level. This increase in displacement indicates the accumulation of loads and forces acting more significantly on the upper floors [23]. The difference in values between the X and Y directions reflects variations in the structure's response to lateral loads [24].
[image: image5.png]Elevation (m)

35

30

——Push X

&

—8—PushY

E

—e—10
Limit

&

0 —e—LS Limit

5 —e—CP
Limit

0
0000 1000 2000 3.000 4000 5000

Displacement Ratio (%)





Figure 3
Story Displacement Ratio


According to ASCE 41-17, the target displacements for structures should align with the limits specified in FEMA 356 [25]. These limits dictate that the maximum displacement for the Immediate Occupancy (IO) performance level is 1%, Life Safety (LS) is 2%, and Collapse Prevention (CP) is 4%. The most considerable inter-story drift recorded is 2.321% in the X direction and 2.319% in the Y direction on the first floor (Figure 3). These values exceed the 2% maximum limit set for the Life Safety (LS) performance level, indicating that the building is nearing the Collapse Prevention (CP) threshold at this level. It suggests that the building operates between the Life Safety (LS) and Collapse Prevention (CP) performance levels, particularly on the lower floors. While the structure still meets the Life Safety standards and prevents total collapse, the increased deformation at the lower floors indicates that special attention is needed to ensure safety and stability under more extreme loading conditions.


Based on the running output, one element reached the yielding condition (B-C) at step 1. As the steps progress, the number of elements reaching yielding conditions increases. By the final step the X direction, step 36, 413 elements have experienced yielding. In the pushover analysis in the Y direction, 11 steps are observed, with six elements yielding first at step 1 and 528 elements reaching yielding conditions by step 11.

[image: image6.png]([T T ]l





Figure 4
Location of Plastic Hinges in the X Direction

[image: image7.png]+

+





Figure 5
Location of Plastic Hinges in the Y Direction

A building structure's "strong column-weak beam" requirement is satisfied if plastic hinges form first in the beams [26]. According to Figures 4 and 5, the most critical elements in this study are located in the columns with Life Safety (LS) performance in both X and Y directions. This condition leads to the loss of the building's ability to maintain a "continuity strong mechanism," which involves the formation of plastic hinges in the columns at both the top and bottom of the vertical structure [27]. In this study, plastic hinges in the columns occur due to the suboptimal design of 900 mm columns, which are inadequate to support the load. Therefore, beams and columns should ensure sufficient dimensions to support the loads effectively.

[image: image8.png]Spectral Acceleration, g

100

050

080

050

020

010

000

NTC 2008 Target Displacement

4

a0

120

w20 20
Spectral Displacement, mm

280

20

360

40




Figure 6
Structural Performance According to ATC-40 Push X

[image: image9.png]9

Spectral Acceleration,

100 ¢

050

080

020

010

000

NTC 2008 Target Displacement

Legend
—s— Capacity
e Ideaized EPP
Demand
—— Perod T
- Perod Te

0

120

w20 a0 % @ a0 se
Spectral Displacement, mm

600





Figure 7
Structural Performance According to ATC-40 Push Y
Table 16
Structural Performance Levels

	Direction
	Displacement (mm)
	Maximum Total Drift
	Performance Level

	X
	523,22
	0,0141
	Damage Control

	Y
	631,462
	0,0170
	Damage Control


Source: Author


According to the ATC-40 methodology, the structure is categorized within the Damage Control (DC) performance level for both the X and Y directions, as presented in Table 16,  Figures 6, and 7. This classification signifies that the building can effectively withstand seismic forces during an earthquake while posing minimal risk to human life. The Damage Control level indicates that although the structure can endure seismic activity, it may sustain some damage that could impair its functionality.

It is advisable to implement reinforcing measures even when the structure meets the Damage Control requirements. Such reinforcements ensure long-term stability and safety, especially in seismically active regions. The significance of retrofitting is underscored in numerous seismic assessment frameworks, which advocate for proactive enhancements to structural integrity to mitigate risks associated with future seismic events. By adopting these measures, building owners can significantly reduce the likelihood of severe damage, thereby improving the overall resilience of the structure[28].

Pushover analysis reveals that the Existing Building is at risk of not achieving the Collapse Prevention (CP) performance level, even if the overall drift is within the Damage Control (DC) limits. This concern is particularly relevant for structural components that may undergo significant deformation in the later stages of analysis, potentially jeopardizing the building's seismic performance. Addressing these vulnerabilities through appropriate retrofitting strategies is essential for enhancing overall safety and resilience against seismic events[29].

The Existing Building fails to meet the Collapse Prevention (CP) performance criteria for several reasons. Although the building's elastic design aims to minimize structural damage and ensure the safety of its occupants, this approach does not suffice to achieve the CP performance target. While the elastic design allows the building to endure deformation without significant permanent damage, it may lack the rigidity to conform to the minimal deformation requirements established by CP performance standards.

Research highlights that reliance on elastic design strategies alone can lead to insufficient structural response during severe seismic events, potentially exposing the building to risks of failure or excessive damage [30]. Effective seismic design must prioritize both the ability to withstand deformation and the necessity for rigidity to meet stringent performance objectives, particularly in seismically active regions [31]. Thus, enhancing structural integrity through retrofitting or adopting more resilient design principles becomes imperative to ensure compliance with performance criteria in future seismic assessments [32].

Relatively small structural element sizes were selected to reduce costs and material waste [33]. However, this also impacts the rigidity and strength of the structure. Smaller components typically have lower lateral load resistance, which makes it harder for the building to achieve the Collapse Prevention (CP) performance target [34]. Additionally, the lack of lateral stiffness affects the building's overall performance in meeting the Collapse Prevention (CP) requirement, even though columns offer significant structural support and have an average height on each floor [35]. Variations in structural element capacity can also be caused by reinforcement and dimension rounding differences between the original design and field execution [36]. These differences may cause structural components to be less capable of withstanding earthquake loads, failing to 

As noted by prior studies, structural elements were designed with relatively small dimensions to optimize cost and minimize material waste [37]. However, this choice compromises the overall structure's stiffness and strength. Typically, smaller components exhibit reduced lateral load resistance, posing challenges for the building to meet the Collapse Prevention (CP) performance criteria [38]. Insufficient lateral stiffness adversely affects the building's ability to satisfy the CP requirement despite the columns providing considerable structural support with a standard height across each floor level [34]. Furthermore, disparities in the structural capacity of elements may arise due to variations in reinforcement placement and dimensional adjustments made during field implementation, as opposed to the initial design specifications [39]. Such discrepancies can reduce the structural elements' resilience against seismic forces, potentially compromising their earthquake-resistant capacity.


Considering all factors, the Existing Building does not satisfy the Collapse Prevention (CP) standards outlined in ASCE 41-17. A more thorough approach is needed during the design and construction stages to improve its resistance under strong earthquake forces. Assessments from Tier 1 to Tier 3 reveal that critical structural components, primarily columns and beams, are inadequate in meeting CP criteria. Strengthening these elements with Fiber-Reinforced Polymer (FRP) is recommended to improve their capacity and performance in resisting seismic loads.

The ASCE 41-17 standard endorses the utilization of Fiber-Reinforced Polymer (FRP) strengthening as an effective strategy to enhance structural elements' shear and flexural capacities, such as beams and columns while keeping the additional dead load to a minimum. Applying FRP to these surfaces significantly improves their ductility, mitigates the risk of cracking or failure under seismic loading, and increases lateral strength. This approach is crucial for enhancing structures' resilience and overall performance in seismic-prone areas, ensuring compliance with modern engineering safety standards [40]. 

Applying fiber-reinforced polymer (FRP) to columns enhances their axial and shear capacities, effectively preventing collapse due to high localized stresses. This strengthening technique improves the columns' overall structural integrity, enabling them to withstand greater loads and resist failure during seismic events. By reinforcing these critical components, engineers can significantly enhance the resilience of structures in seismic-prone regions, ensuring they meet safety standards and performance requirements. [41]. Integrating Fiber-Reinforced Polymer (FRP) materials into structural components significantly enhances their performance under various loading conditions. FRP improves axial and shear capacities when applied to columns, mitigating the risk of collapse due to concentrated stresses. This enhancement is particularly crucial in ensuring the structural integrity of columns subjected to high loads and dynamic forces, such as those experienced during seismic events [42]
Similarly, applying FRP in beams improves their flexural and shear capabilities, allowing these elements to deform more significantly without incurring substantial damage. This capacity for increased deformation is vital in improving the overall resilience of structures during seismic activities, effectively reducing the likelihood of structural failure. Research has demonstrated that strengthening reinforced concrete (RC) beams with FRP can significantly enhance their load-bearing capacity and cracking resistance, providing a durable and lightweight alternative to traditional reinforcement methods [43].

Stirrups are advised to improve lateral confinement and the performance of columns during seismic occurrences. This approach increases the columns' capacity to withstand seismic stresses without significant damage. Additionally, reinforcing beam-column joints is critical, as these areas often become vulnerable during earthquakes. By providing extra reinforcement at these junctions, the flexural and shear capacities can be significantly improved [44]. Furthermore, it is essential to strengthen and stiffen the floor diaphragm to ensure better lateral stress distribution to shear walls or other vertical structural elements. It can be achieved by adding a reinforced concrete topping slab or applying an FRP layer to the diaphragm's surface. Such modifications enhance the structural integrity and help meet the Collapse Prevention (CP) criteria set forth by ASCE 41-17 [45]. Lastly, better lateral stress distribution to shear walls or other vertical elements can be ensured by strengthening and stiffening the floor diaphragm, for example, by installing a reinforced concrete topping slab or FRP layer on the diaphragm surface [46]. By implementing these strengthening measures, the Existing Building is expected to achieve more excellent structural safety and stability during seismic events, ultimately enhancing its resilience and compliance with established performance standards.
CONCLUSION

Upon conducting a comprehensive evaluation, the existing building was determined to be non-compliant with the Collapse Prevention (CP) performance criteria outlined in ASCE 41-17 across all three evaluation tiers: Tier 1, Tier 2, and Tier 3. Specifically, the Tier 1 assessment revealed significant deficiencies within the moment frame structure and essential structural elements, predominantly attributed to substandard materials and inadequate design practices. The Tier 2 evaluation indicated that numerous structural components, such as beams, columns, and joints, exhibited elevated Demand-Capacity Ratio (DCR) values, signaling a substantial ductility demand. Furthermore, the Tier 3 analysis confirmed that even the implementation of an elastic design does not enable the building to achieve the CP performance targets, thereby highlighting the imperative for additional reinforcement measures.

In light of the findings from this investigation, several avenues for future research are recommended. Subsequent studies need to incorporate the substructure into their assessments to enhance the precision of the results. Future research initiatives could also focus on developing effective strengthening methodologies to improve the seismic resilience of critical elements such as columns, beams, and shear walls, thereby addressing the deficiencies identified through the DCR analyses.
ACKNOWLEDGMENT
The authors disclosed receipt of the following financial support for the research, authorship, and publication of this article: This work was supported by the Politeknik Negeri Jakarta.
.
REFERENCES
[1]
M. S. Speicher, Z. Zhang, and B. W. Schafer, 'Application of ASCE 41 to a two-story CFS building', vol. 2020, no. October, pp. 1–7, 2020.

[2]
U. Wijaya, I. G. E. A. Putra, and Tavio, 'Assessment and evaluation procedure of existing industrial building structure based on ASCE 41-17', in Journal of Physics: Conference Series, 2020. doi: 10.1088/1742-6596/1477/5/052045.

[3]
Badan Standarisasi Nasional, ‘SNI 1726:2019’, Tata Cara Perenc. Ketahanan Gempa Untuk Strukt. Bangunan Gedung dan Non Gedung, 2019.

[4]
A. Rigi, B. JavidSharifi, M. A. Hadianfard, and T. Y. Yang, 'Study of the seismic behavior of rigid and semi-rigid steel moment-resisting frames', J. Constr. Steel Res., 2021, doi: 10.1016/j.jcsr.2021.106910.

[5]
Humas Universitas Indonesia, ‘Strategi Efektif Bangunan Sederhana Tahan Gempa’. Accessed: Feb. 01, 2024. [Online]. Available: https://www.ui.ac.id/strategi-efektif-bangunan-sederhana-tahan-gempa/

[6]
CNN, ‘BMKG: Indonesia Diguncang 10.789 Gempa Sepanjang 2023,” CNN Indonesia,’ 2023.

[7]
M. Mavrouli, S. Mavroulis, E. Lekkas, and A. Tsakris, 'The Impact of Earthquakes on Public Health: A Narrative Review of Infectious Diseases in the Post-Disaster Period Aiming to Disaster Risk Reduction', Microorganisms. 2023. doi: 10.3390/microorganisms11020419.

[8]
B. Yildizlar, C. Akcay, and N. K. Öztorun, 'A rapid analysis method for determining current status of existing buildings: A conceptual framework', Rev. la Constr., vol. 17, no. 2, pp. 267–278, 2018, doi: 10.7764/RDLC.17.2.267.

[9]
D. A. Pohoryles, D. A. Bournas, F. Da Porto, A. Caprino, G. Santarsiero, and T. Triantafillou, 'Integrated seismic and energy retrofitting of existing buildings: A state-of-the-art review', Journal of Building Engineering. 2022. doi: 10.1016/j.jobe.2022.105274.

[10]
ASCE, ASCE standard, ASCE/SEI, 41-17, seismic evaluation and retrofit of existing buildings. 2017.

[11]
M. Dilena, M. Fedele Dell'Oste, A. Gubana, A. Morassi, and E. Puntel, 'Dynamic Testing in Support of the Seismic Assessment of a Century Old Masonry Building Complex', Buildings, 2022, doi: 10.3390/buildings12060805.

[12]
M. M. Khan, M. F. A. Khan, K. K. Karinuddin, and K. S. Charan, 'Comparative Study of Linear Static and Linear Dynamic Method of Seismic Analysis of RCC Multistoried Building Using ETABS', Int. J. Res. Appl. Sci. Eng. Technol., 2022, doi: 10.22214/ijraset.2022.42322.

[13]
P. Kot, M. Muradov, M. Gkantou, G. S. Kamaris, K. Hashim, and D. Yeboah, 'Recent advancements in non-destructive testing techniques for structural health monitoring', Applied Sciences (Switzerland). 2021. doi: 10.3390/app11062750.

[14]
A. Keshmiry, S. Hassani, M. Mousavi, and U. Dackermann, 'Effects of Environmental and Operational Conditions on Structural Health Monitoring and Non-Destructive Testing: A Systematic Review', Buildings. 2023. doi: 10.3390/buildings13040918.

[15]
W. W. Carofilis Gallo, N. Clemett, G. Gabbianelli, G. O'reilly, and R. Monteiro, 'Seismic Resilience Assessment in Optimally Integrated Retrofitting of Existing School Buildings in Italy', Buildings, 2022, doi: 10.3390/buildings12060845.

[16]
American Society of Civil Engineers, ASCE standard, ASCE/SEI, 41-17, seismic evaluation and retrofit of existing buildings. 2017.

[17]
J. A. Jarrett, J. P. Judd, and F. A. Charney, 'Comparative evaluation of innovative and traditional seismic-resisting systems using the FEMA P-58 procedure', J. Constr. Steel Res., 2015, doi: 10.1016/j.jcsr.2014.10.001.

[18]
S. Prasanth, G. Ghosh, P. K. Gupta, V. Kumar, P. Paramasivam, and S. Dhanasekaran, 'Selection of Response Reduction Factor Considering Resilience Aspect', Buildings, 2023, doi: 10.3390/buildings13030626.

[19]
ASCE/SEI 41-2017, Seismic Evaluation and Retrofit of Existing Buildings. 2017. doi: 10.1061/9780784416112.

[20]
M. V. Requena-Garcia-Cruz, A. Morales-Esteban, and P. Durand-Neyra, 'Optimal ductility enhancement of RC framed buildings considering different non-invasive retrofitting techniques', Eng. Struct., 2021, doi: 10.1016/j.engstruct.2021.112572.

[21]
N. Gharaei-Moghaddam, M. Meghdadian, and M. Ghalehnovi, 'Innovations and advancements in concrete-encased steel shear walls: A comprehensive review', Results in Engineering. 2023. doi: 10.1016/j.rineng.2023.101351.

[22]
R. R. Arima, R. Sani Saputra, and R. Kurniawaran, ‘Pushover Analysis of 6-Floors Irregular Building Structure (Case Study: Fave Hotel Building-Padang City, West Sumatra)’, Riwayat Educ. J. Hist. Humanit., vol. 6, no. 3, pp. 859–871, 2023.

[23]
M. Vinay, P. Kodanda Rama Rao, S. Dey, A. H. L. Swaroop, A. Sreenivasulu, and K. Venkateswara Rao, Evaluation of progressive collapse behavior in reinforced concrete buildings', Structures, 2022, doi: 10.1016/j.istruc.2022.10.001.

[24]
H. S. Aji, A. Rosyidah, and J. Saputra, 'The effect of variation of shear walls placement on the response of building structure using the Direct Displacement-Based Design method', SINERGI, 2022, doi: 10.22441/sinergi.2022.2.009.

[25]
FEMA, 'FEMA 356 - Prestandard and commentary for the seismic rehabilitation of buildings , FEDERAL EMERGENCY MANAGEMENT AGENCY', Rep. FEMA-356, Washington, DC, 2000.

[26]
M. M. Shamszadeh and S. Maleki, 'Evaluation of strong column-weak beam criterion in spliced columns of steel moment frames', Results Eng., 2022, doi: 10.1016/j.rineng.2022.100453.

[27]
H. Jiang, C. Jin, L. Yan, Q. N. Li, and W. Lu, 'Design method for the relocation of plastic hinges in prefabricated steel beams with corrugated webs', PLoS One, 2021, doi: 10.1371/journal.pone.0246439.

[28]
‘Seismic Risk Analysis of Government Buildings in the City of Tembilahan using FEMA P-58’, Rekayasa Sipil, 2024, doi: 10.21776/ub.rekayasasipil.2024.018.01.6.

[29]
M. M. Kassem, F. Mohamed Nazri, and E. Noroozinejad Farsangi, 'On the quantification of collapse margin of a retrofitted university building in Beirut using a probabilistic approach', Eng. Sci. Technol. an Int. J., 2020, doi: 10.1016/j.jestch.2019.05.003.

[30]
F. Freddi et al., 'Innovations in earthquake risk reduction for resilience: Recent advances and challenges', Int. J. Disaster Risk Reduct., 2021, doi: 10.1016/j.ijdrr.2021.102267.

[31]
W. Hua, J. Ye, and J. Ye, 'Resilience assessment and seismic risk assessment of reticulated shell structures considering multiple uncertainties', Structures, 2023, doi: 10.1016/j.istruc.2023.06.129.

[32]
J.-H. Kim, C. J. Hessek, Y. J. Kim, and H.-G. Park, 'Seismic analysis, design, and retrofit of built-environments: a procedural review of current practices and case studies', J. Infrastruct. Preserv. Resil., vol. 3, no. 1, p. 11, Sep. 2022, doi: 10.1186/s43065-022-00056-3.

[33]
C. Zhang, M. Hu, F. Di Maio, B. Sprecher, X. Yang, and A. Tukker, 'An overview of the waste hierarchy framework for analyzing the circularity in construction and demolition waste management in Europe', Science of the Total Environment. 2022. doi: 10.1016/j.scitotenv.2021.149892.

[34]
N. Elkady, L. Augusthus Nelson, L. Weekes, N. Makoond, and M. Buitrago, 'Progressive collapse: Past, present, future and beyond', Structures, 2024, doi: 10.1016/j.istruc.2024.106131.

[35]
Nurul Hidayati, Hariyadi, and Mukhta Riqi Sab’it Tibaq, ‘Analisa ketidakberaturan horizontal dan vertikal pada struktur gedung beton bertulang’, Padur. J. Tek. Sipil Univ. Warmadewa, 2023, doi: 10.22225/pd.12.2.7653.235-243.

[36]
H. Kloft et al., 'Interaction of reinforcement, process, and form in Digital Fabrication with Concrete', Cem. Concr. Res., vol. 186, p. 107640, Dec. 2024, doi: 10.1016/j.cemconres.2024.107640.

[37]
L. Mei and Q. Wang, 'Structural optimization in civil engineering: A literature review', Buildings. 2021. doi: 10.3390/buildings11020066.

[38]
M. Ebadi-Jamkhaneh, D. P. N. Kontoni, and A. Homaioon Ebrahimi, 'Assessment of Different Methods for Enhancing Progressive Collapse Resistance of Irregular Reinforced Concrete Buildings Using Pushdown Analysis', Arab. J. Sci. Eng., 2024, doi: 10.1007/s13369-024-08847-4.

[39]
K. M. Aishwarya, N. V Anand, and N. C. Balaji, 'An experimental study on structural performance of reinforced concrete beams strengthened for combined flexure and shear by using NSM-GFRP strips', IOP Conf. Ser. Mater. Sci. Eng., 2023, doi: 10.1088/1757-899x/1282/1/012006.

[40]
M. Chellapandian and S. S. Prakash, 'Axial compression-flexure interaction behavior of hybrid fiber-reinforced polymer-strengthened columns', ACI Struct. J., 2019, doi: 10.14359/51710877.

[41]
Y. Yardim, S. Yilmaz, M. Corradi, and W. A. Thanoon, 'Strengthening of Reinforced Concrete Non-Circular Columns with FRP', Materials (Basel)., 2023, doi: 10.3390/ma16216973.

[42]
A. Jahami and C. A. Issa, 'An Updated Review on the Effect of CFRP on Flexural Performance of Reinforced Concrete Beams', International Journal of Concrete Structures and Materials. 2024. doi: 10.1186/s40069-023-00651-y.

[43]
A. Arafa, 'Seismic Response of Concrete Components and Systems Reinforced with Fiber Reinforced Polymer (FRP) Bars: Trend and Challenges', Curr. Trends Civ. Struct. Eng., 2019, doi: 10.33552/ctcse.2019.03.000567.

[44]
W. Zheng, W. Chang, and M. Hao, 'Estimation of lateral stress of stirrups at peak stress and residual stress of confined concrete at stirrups fractured in confined concrete under axial compression', Mater. Today Commun., 2023, doi: 10.1016/j.mtcomm.2023.106260.

[45]
M. K. Askar, A. F. Hassan, and Y. S. S. Al-Kamaki, 'Flexural and shear strengthening of reinforced concrete beams using FRP composites: A state of the art', Case Stud. Constr. Mater., 2022, doi: 10.1016/j.cscm.2022.e01189.

[46]
M. A. El-Mandouh, M. S. Omar, and A. S. Abd El-Maula, 'Behaviour of RC flat slabs with openings strengthened with CFRP', Case Studies in Construction Materials. 2021. doi: 10.1016/j.cscm.2021.e00587.


	A. Adriansyah et al., Author Template for SINERGI 
	1


	14
	A. Adriansyah et al., Author Template for SINERGI


	A. Adriansyah et al., Author Template for SINERGI
	13



[image: image10.png][image: image11.png]