	[image: image30.png]



	SINERGI Vol. xx, No. x, February 20xx: xxx-xxx http://publikasi.mercubuana.ac.id/index.php/sinergi http://doi.org/10.22441/sinergi.xxxx.x.xxx
	[image: image31.png]s SINERGI

PISSN: 1410-2331 e-ISSN: 2460-1217
VOL. 25, NO. 1, FEBRUARY 2021

‘Accredied SINTA 2 by KEMENRISTEKDIKTI, Decree No: 10E/KPTI2018







	SINERGI Vol. xx, No. x, xxxxxx 20xx: xxx-xxx


	p-ISSN: 1410-2331  e-ISSN: 2460-1217



	EXPLORING THE ROLE OF HANNING AND BLACKMAN-HARRIS FILTERS IN ENHANCING EEG SIGNAL QUALITY OF AUTISM SPECTRUM DISORDER
	[image: image34.jpg]®
e

E “5 o ;;2 :.E : ':,.:- e .:: E :’; :: ’3 E ’E EEE: Original EEG Signal in Time Series

EEG Dataset Format .dat Change File Extansion with Phyton ‘

Hanning iered igna - Channel Pl

o =
Performance Fiers wf| |
Analysis §

Filter Methods

Lot L\'* w-‘_;»l’i

Blackman Harris

T T 1 - .l = “= | Hanning FIR FIR

Blckman Hars Fitere Signsl - Channe o1

MAE MSE SNR PSD 0 = —

0 l Filter with the Hanning FIR dan

| ! :
ol | \ ! Blackman Harris FIR Filter Methods
Calculating and Comparing g 'uj.u"w‘v"l“‘,l‘ﬂ ‘*IW"‘”V\/J‘)W“ meH}NM ‘\V’

Filter Performance

13 a0 o0 0 %0 00

Clean EEG Signal






Melinda Melinda1, Buleun Waladah1, Yunidar Yunidar1, Raudhatul Mahfhuza1, Syahrul Gazali2, Siti Rusdiana3, Nurlida Basir4
1Departement of Electrical and Computer Engineering, Faculty of Engineering, Universitas Syiah Kuala, Indonesia 

2Departement Neurology Universitas Syiah Kuala, Mahar Mardjono National Brain Center Hospital, Jakarta, Indonesia
3Departement of Mathematics, Faculty of Mathematics and Natural Sciences, Universitas Syiah Kuala, Indonesia
4Faculty of Science and Technology, Universiti Sains Islam Malaysia, 71800 Nilai, Negeri Sembilan, Malaysia
	Abstract 

This study investigates the effectiveness of two Finite Impulse Response (FIR) filter designs based on the Hanning and Blackman-Harris windows for preprocessing electroencephalography (EEG) signals collected from both neurotypical individuals and those diagnosed with autism spectrum disorder  (ASD). EEG signals were recorded using a 16-channel setup and band-pass filtered between 0.5 and 50 Hz to isolate relevant neural activity. Subsequently, the signals were processed independently using each FIR filter type. Performance evaluation was conducted using four quantitative metrics: Mean Absolute Error (MAE), Mean Squared Error (MSE), Signal-to-Noise Ratio (SNR), and Power Spectral Density (PSD). The Hanning window filter showed MAE values ranging from 0.010 to 0.035, MSE from 0.0002 to 0.0013, SNR between 8.9 and 11.2 dB, and PSD values from 3.0 to 5.8 ×10³. These results demonstrate good noise attenuation while preserving signal morphology. In contrast, the Blackman-Harris window produced higher MAE (0.021–0.080) and MSE (0.0015–0.031) but achieved significantly greater SNR improvements (7.8–37.3 dB) and tighter control over PSD (0.002 – 7.344 ×10³), indicating superior noise suppression and reduced spectral leakage. A paired t-test confirmed that differences in all four-performance metrics were statistically significant (p < 0.05) across both neurotypical and ASD subject groups. Despite the Hanning filter's computational simplicity, the Blackman-Harris filter demonstrated more robust performance, making it a more suitable choice for high-fidelity EEG signal analysis in clinical diagnostics and neuroscience research. 
This is an open access article under the CC BY-SA license
[image: image2.png](<) DO




	Keywords: 

electroencephalography; 

Autism Spectrum Disorder; 
Performance evaluation;

Hanning filter;

Blackman-Harris filter;
Article History:

Received: May 2, 2019

Revised: May 29, 2019

Accepted: June 2, 2019

Published: June 2, 2019

Corresponding Author:

Melinda Melinda
Department of Electrical Engineering and Computer, Engineering Faculty,  Universitas Syiah Kuala,  Banda Aceh, Indonesia

Email: melinda@usk.ac.id 



INTRODUCTION 
Electroencephalography (EEG) is a widely adopted non-invasive technique used to measure the brain's electrical activity by detecting voltage fluctuations across scalp electrodes. It provides high temporal resolution, making it well-suited for monitoring dynamic neural processes [1]. Autism Spectrum Disorder (ASD) is a neurodevelopmental disorder characterized by heterogeneous impairment in social interaction, interpersonal communication, sensory sensitivity, and stereotyped, restricted, and repetitive behavior patterns [2][3]. Symptoms of ASD typically appear before the age of three, and its diagnosis still heavily relies on behavioral observation and developmental assessments [4,5,6,7].
Despite the advantages of EEG, the recorded signals are highly susceptible to artifacts such as ocular movements, muscle activity, and external electromagnetic interference, which can significantly degrade the reliability of the data [8], [9]. Therefore, robust signal preprocessing techniques are essential to isolate meaningful brain signals and suppress unwanted noise.
To ensure the extraction of meaningful information, robust signal preprocessing is indispensable. Finite Impulse Response (FIR) filters, a widely used tool in EEG signal denoising, rely on windowing functions to determine their spectral characteristics and overall performance [10]. Among the many available window functions, the Hanning and Blackman-Harris windows stand out due to their distinctive abilities in managing spectral leakage and suppressing sidelobe energy. The Hanning window offers excellent frequency resolution and reduced spectral leakage, making it suitable for real-time applications [11]. In contrast, the Blackman-Harris window is known for its superior sidelobe attenuation, which helps preserve the core signal components in noisy conditions [12], [13].
However, to the best of our knowledge, no documented studies have comprehensively compared the performance of Hanning and Blackman-Harris windows in preprocessing EEG signals from individuals with ASD using statistical and quantitative metrics. This gap limits the ability to determine the most suitable windowing technique for artifact suppression in ASD related EEG analysis.
This study aims to comparatively assess the performance of the Hanning and Blackman-Harris windows in EEG signal preprocessing for ASD-related analysis. The evaluation uses metrics including Mean Square Error (MSE), Mean Absolute Error (MAE), Power Spectral Density (PSD), and Signal-to-Noise Ratio (SNR). The findings are expected to contribute to the optimization of EEG-based diagnostic systems for ASD by identifying the most efficient filtering approach [14], [15].
The novelty of this study stems from its integrative and systematic evaluation framework, which employs multiple quantitative performance indicators including Mean Absolute Error (MAE), Mean Square Error (MSE), Power Spectral Density (PSD), and Signal-to-Noise Ratio (SNR) to assess the effectiveness of FIR window functions in EEG signal preprocessing for ASD analysis. Additionally, the use of a paired t-test for statistical validation reinforces the reliability of the comparative results. Unlike previous works that often focus on a single metric or general EEG applications, this research specifically targets ASD related EEG data, offering a more focused and statistically grounded comparison between Hanning and Blackman-Harris filters. This approach provides a novel contribution by highlighting the optimal window function for enhancing EEG signal quality in clinical and diagnostic contexts related to neurodevelopmental disorders.
METHOD

The selected dataset ensures consistency in EEG acquisition and provides a balanced comparison between ASD and control subjects. Its standardized setup and minimized artifacts make it suitable for evaluating FIR based preprocessing performance.  
Material

This study utilized an EEG dataset originally recorded at King Abdulaziz University (KAU) Hospital, Jeddah, Saudi Arabia, in accordance with ethical data access protocols that ensure subject anonymity. The dataset comprises brain signal recordings from ten male participants five diagnosed with autism spectrum disorder (ASD) aged 10–16, and five neurotypical controls aged 9–16 none of whom had prior neurological conditions. EEG acquisition was performed using g.tec systems with Ag/AgCl electrodes and BCI2000 software. Subjects were in a resting state to reduce motion artifacts, and 16 channels were used based on the international 10–20 system. Pre-processing involved a band-pass filter of 0.1–60 Hz and a 60 Hz notch filter to suppress physiological and powerline noise, respectively. All EEG signals were digitized at 256 Hz and stored in matrix-based .dat file formats compatible with standard signal processing tools [16], [17], [18]. The EEG recordings were organized into a matrix format to optimize compatibility with current digital signal processing platforms and to facilitate advanced analytical computations, as illustrated in Figure 1. 
[image: image3.jpg]Time (S)




Figure 1. Temporal Representation of EEG Signal Across 16 Channels in Microvolt Scale

Methods

The overall workflow of the research process is depicted in Figure 2. Initially, EEG signal data is acquired from the recording system, followed by a preprocessing phase. This phase begins with converting the original data format to ensure compatibility with processing tools, then continues with the application of a band-pass filter to isolate relevant brainwave frequencies in the 0.5–50 Hz range, eliminating undesired frequency components.

[image: image1.jpg]®

Check for
updates




The EEG signal is then processed using two window-based filtering techniques: the Hanning and Blackman-Harris windows, aimed at reducing artifacts while preserving key neural information.
Figure 2. EEG Signal Processing Scheme
Mean Square Error (MSE)

Mean Square Error (MSE) is a widely adopted evaluation metric in signal processing and regression analysis, particularly for assessing the accuracy of signal reconstruction after noise or artifact removal. It quantifies the average of the squared differences between the actual and predicted (or reconstructed) values. A lower MSE value indicates better model performance, reflecting minimal deviation from the original signal. Since MSE squares the errors, it is highly sensitive to large deviations and outliers, making it effective for detecting even subtle distortions in EEG signal restoration. It can be calculated using an equation (1)
	𝑛
1
𝑀𝑆𝐸 =
∑(𝑦𝑖 − 𝑦̂𝑖)2
[image: image30.png]𝑛
𝑖=1
	(1)


yi is the actual value and n is the number of data points [19].
Mean Absolute Error (MAE)

Mean Absolute Error (MAE) is a straightforward and widely used evaluation metric that calculates the average absolute difference between predicted and actual values. Unlike MSE, MAE does not amplify the impact of outliers, making it more robust in analyzing EEG signals with noise or missing channels. In EEG processing, MAE effectively quantifies the deviation between reconstructed and original signals, offering clear insight into interpolation and filtering performance [2].

	𝑛
[image: image31.png]1
𝑀𝐴𝐸 = 𝑛 ∑|𝑦𝑖 − 𝑦̂𝑖|
𝑖=1
	(2)


The variable xi represents the data at the i-the-point, while yi denotes the predicted or filtered value at the same index. Both are compared across n total samples to evaluate the accuracy of the prediction or filtering method [20] [21]. 

Power Spectral Density (PSD)

Power Spectral Density (PSD) is a frequency-domain method used to measure how signal power is distributed across frequencies. In EEG analysis, PSD helps identify dominant brainwave patterns and characterize both rhythmic and background neural activity. It is often computed using the Fourier Transform, as shown in Equation (3).

	2
[image: image32.png]MAE

0.20

015

0.10

0.05

0.00

0.211

Subject 1

Blackman-Harris Filter - MAE

0.170

Subject 2

0.210

0.172

Subject 3 Subject 4
Subjects

Subject 5



1
𝑇∕2
𝑆𝑥(𝑓) = 𝑙𝑖𝑚
|∫
𝑥(𝑡)𝑒−𝑗2𝜋𝑓𝑡 ⅆ𝑡|
𝑇→∞ 𝑇
−𝑇∕2
	(3)


Here, Sx(f) denotes the power at frequency f from time-domain signal x(t). Recent studies, such as Liu et al. (2023), show that modeling both periodic and aperiodic PSD components improves EEG classification, especially for seizure detection [22].

Signal-to-Noise Ratio (SNR)
Signal-to-Noise Ratio (SNR) is a key metric that quantifies the ratio between the power of a signal and the power of background noise. In EEG signal processing, where the signal is often weak and susceptible to various sources of noise, SNR serves as a critical indicator of signal quality. It is typically expressed in decibels (dB) using the following equation: (4)

	𝑆𝑁𝑅
= 10 𝑙𝑜𝑔  (𝑃𝑠𝑖𝑔𝑛𝑎𝑙)
𝑑𝐵
10  𝑃
𝑛𝑜𝑖𝑠𝑒
	(4)


A higher SNR value reflects better signal clarity with minimal interference, while a lower value suggests that noise dominates the signal. Recent work by Miao et al. (2023) introduced LMDA-Net, a lightweight multi-dimensional attention network designed to enhance SNR in EEG-based BCI systems by applying effective spatial-temporal filtering techniques [23][24].
P Value
The p-value assesses the statistical significance of EEG signal differences between ASD and control groups after applying FIR filters with Hanning and Blackman-Harris windows. It is calculated using (5)

	𝑃 = 𝑃(𝑇 ≥ │𝑡𝑜𝑏𝑠𝑒𝑟𝑣𝑒𝑑 │)
	(5)


where Tobserved ​ is the calculated test statistic and T follows a t-distribution with appropriate degrees of freedom. A p-value below 0.05 suggests a statistically significant difference in EEG patterns between ASD and control groups. Conversely, a value above 0.05 indicates that the observed differences may be attributed to random variation.

Recent developments in statistical inference recommend using second-generation p-values, which offer greater emphasis on practical relevance and reproducibility, rather than relying solely on conventional thresholds. This approach ensures that statistically significant findings are also scientifically meaningful and replicable [25].

RESULTS AND DISCUSSION

The EEG signal, initially processed using FIR filters with Hanning and Blackman-Harris window functions, was subsequently evaluated based on five performance metrics. These include Mean Square Error (MSE) as defined in Equation (1), Mean Absolute Error (MAE) in Equation (2), Power Spectral Density (PSD) in Equation (3), Signal-to-Noise Ratio (SNR) in Equation (4), and statistical significance via the P-value in Equation (5).

Window Hanning Filter Result
The application of a FIR filter with a Hanning window enables effective attenuation of spectral sidelobes while ensuring a gradual transition in the frequency response. This characteristic is particularly valuable in EEG analysis, as it helps reduce spectral leakage that could otherwise obscure critical brainwave components especially in the delta (0.5–4 Hz), theta (4–8 Hz), alpha (8–13 Hz), and beta (13–30 Hz) bands, which are essential for interpreting various cognitive and neurological functions [26][27].


The findings indicate that the FIR filter configured with a Hanning window is effective in attenuating high-frequency noise within EEG signals, while preserving phase linearity and retaining essential spectral components. This ensures that key neurological features remain intact after filtering. As depicted in Figure 3, the contrast between raw and filtered EEG signals highlights the Hanning filter’s capability to enhance signal clarity without introducing significant distortion [28].

[image: image4.jpg]Ampiitude.

100

-100

Original Signal - Channel Fp1

7u,;sw

WN N | AN

10000 15000 20000
Sample

25000




(a) Original Signal on Channel Fp1
[image: image5.jpg]Hanning Filtered Signal - Channel Fp1

sty

-100
0 5000 10000 15000 20000 25000




(b) Hanning Filtered Signal on Channel Fp1
Figure 3. EEG Signal on Channel Fp1: (a) Original, (b) Filtered using Hanning Window

The processed EEG signal using the Hanning FIR filter reveals a smoother waveform with diminished high-frequency oscillations typically attributed to noise interference. This filtering approach exhibits a stable amplitude response across the target frequency band and demonstrates a sharper transition at cutoff frequencies indicating greater efficiency in isolating the core EEG signal from unwanted components. Quantitative analyses further reinforce this observation; the Hanning FIR filter consistently produces lower Mean Absolute Error (MAE) and Mean Square Error (MSE) values, enhanced Signal-to-Noise Ratio (SNR), and a more concentrated Power Spectral Density (PSD) profile. These improvements confirm the filter's proficiency in suppressing non-neural disturbances, such as electromyographic (EMG) noise and external electromagnetic artifacts, without compromising the underlying neural signal integrity.
Window Blackman-Harris Filter Result

The Blackman‑Harris window achieves outstanding sidelobe attenuation (−92 dB), significantly reducing spectral leakage in EEG preprocessing. Its multi-term cosine design ensures smooth transition bands and minimal interference with key neural frequencies, making it highly effective in isolating brainwave signals from high-frequency disturbances like EMG or environmental noise. These advantages are particularly beneficial in ASD studies, where EEG clarity is essential for accurate neural interpretation [29] [30].

FIR window filtering shows that the Blackman-Harris window delivers sharper cutoff characteristics and superior stopband rejection compared to other window types. It effectively suppresses 50 Hz powerline interference, resulting in improved PSD resolution and higher SNR highlighting its suitability for EEG-based ASD research [31].

[image: image6.jpg]Original Signal - Channel Fp1

T

0 souo 10000 15000 20000 25000
Sample





(a) Original Signal
[image: image7.jpg]Blackman-Harris Filtered Signal - Channel Fp1

l
M“W»WMMWWW

0 5000 10000 15000 20000 25000
sample





(b) Blackman-Harris Filtered Signal
Figure 4. EEG Signal on Channel Fp1: (a) Original, (b) Filtered using Blackman-Harris Window.

The application of the Blackman-Harris window markedly improves EEG signal quality by delivering a noticeably cleaner waveform, as shown in Figure 5. This high-order FIR filter offers a smooth frequency response, ensuring a sharp yet distortion-minimizing transition from passband to stopband. Quantitative assessment reveals that filtering leads to decreased Mean Squared Error (MSE) and Mean Absolute Error (MAE), alongside a notable boost in Signal-to-Noise Ratio (SNR). These improvements underscore that post-filtering EEG signals are much better suited for subsequent analysis. Notably, by effectively removing high-frequency interference such as EMG and environmental noise, the filter preserves critical neural information while enhancing overall signal clarity. 

Performance Accuracy Analysis Result

The effectiveness of EEG filtering was evaluated using four key metrics: Mean Square Error (MSE), Mean Absolute Error (MAE), Power Spectral Density (PSD), and Signal-to-Noise Ratio (SNR). Both MSE and MAE quantify the deviation between filtered and original signals, where lower values indicate better signal fidelity. SNR assesses noise reduction effectiveness, while PSD reflects how the filter redistributes signal energy across the frequency spectrum. Collectively, these measures offer a holistic view of filtering performance.

Results confirm that both FIR filters with Hanning and Blackman-Harris windows significantly improve EEG signal quality. The Hanning filter achieves smoother frequency transitions with relatively low computational cost. In contrast, the Blackman-Harris filter delivers superior sidelobe suppression, making it more adept at attenuating high-frequency noise while faithfully preserving relevant neural components.

1. Window Blackman-Harris FIR Filter ASD Subject. 
The application of the Hanning window FIR filter demonstrates favorable results across multiple performance indicators MAE, MSE, PSD, and SNR. As illustrated in Figure 5, the MAE values ranging from 0.01 to 0.035 and MSE values between 0.0002 and 0.0013 reflect low error margins, indicating effective noise suppression while maintaining the morphological integrity of the original EEG signals. These findings confirm the Hanning filter’s consistency in minimizing interference without compromising essential neural components.

[image: image8.png]'g Filter - MAE





(a) Comparison Mean Absolute Error (MAE)

[image: image9.png]Hanning Filter - MSE

0.173

0.175

0.150

0.125

.y 0.100

0.075

0.050

0.033

Subject 1 Subject 2 Subject 3 Subject 4 Subject 5
Subijects

0.027

0.026

. -
0.000





(b) Comparison Mean Square Error (MSE)

[image: image10.png]SNR (dB)

16

14

12

10

(0]

(@)

N

N

o

Subject 1

Hanning Filter - SNR (dB)

14.930

Subject 2

Subject 3
Subijects

Subject 4

Subject 5



(c) Comparison Signal-to-Noise Ratio (SNR)

[image: image11.png]8000

6000

4000

PSD (x10713

2000

6219.400

Subject 1

Hanning Filter - PSD (x10°)

6991.900

Subject 2

5303.700

Subject 3
Subijects

Subject 4

7364.500

Subject 5




(d) Comparison Power Spectral Density (PSD)
Figure 5. Comparison values for Window Hanning FIR Filter ASD subjects: (a) MAE, (b) MSE, (c) SNR, and (d) PSD.

The observed SNR values, which fall between 8.9 and 11.2 dB, demonstrate a significant enhancement in EEG signal clarity following the application of the Hanning filter. Furthermore, the consistent Power Spectral Density (PSD) readings in the range of 3.0 to 5.8 (×10⁻³) highlight the filter’s ability to preserve the signal’s power across key frequencies while effectively suppressing spectral noise. This supports the filter’s capacity to retain critical EEG components essential for accurate interpretation.

2. Window Blackman-Harris FIR Filter ASD Subject
The Blackman-Harris window exhibits superior capabilities in EEG signal filtering, notably in reducing spectral leakage and improving frequency precision. Its strong sidelobe suppression makes it highly advantageous for applications that demand accurate signal interpretation and effective noise elimination.
[image: image12.png]S 1

[Blackman-Harns Filter - MAE

osss

o2 i3 Ee=n
el

it 5



(a) Comparison Mean Absolute Error (MAE)
[image: image13.png]aos oo L i

=0 = Sioas =n S5

Subjects




(b) Comparison Mean Square Error (MSE)
[image: image14.png]SNR (dB)

17.5

15.0

12.5

7.5

5.0

2.5

0.0

17.250

Subject 1

Blackman-Harris Filter - SNR (dB)

16.070

Subject 2

Subject 3
Subijects

7.770

Subject 4

8.370

Subject 5




(c) Comparison Signal-to-Noise Ratio (SNR)

[image: image15.png]PSD (x1003)

8000

7000

6000

5000

4000

3000

2000

1000

5750.200

Subject 1

Blackman-Harris Filter - PSD (x10(®)

6465.600

4904.600

Subject 2 Subject 3
Subijects

Subject 4

6868.500

Subject 5




(d) Comparison Power Spectral Density (PSD)

Figure 6. Comparison values for Window Blackman-Harris FIR Filter ASD subjects: (a) MAE, (b) MSE, (c) SNR, and (d) PSD.
Figure 6 illustrates that the Blackman-Harris window delivers outstanding performance across four evaluation metrics MAE, MSE, SNR, and PSD. The method achieves significant noise attenuation, as evidenced by high SNR values ranging from 62.85 to 91.41 dB, indicating robust signal enhancement. Additionally, the very low Power Spectral Density (PSD) values, between 0.002 and 0.71×10⁻³, reflect minimal spectral leakage, highlighting its effectiveness for detailed frequency-domain analysis. Moreover, the filter maintains waveform integrity, with Mean Absolute Error (MAE) values of 0.021–0.057 and Mean Squared Error (MSE) values of 0.0015–0.0062, demonstrating that the original signal structure is largely preserved. These findings affirm the Blackman-Harris window's reliability in preserving EEG signal quality throughout the spectral filtering process.

[image: image33.png]MAE

030

025

020

015

010

005

0.00

- Hanning
Blackman-Harris

0,079
0,061

Subject 1

Comparison of MAE

0318
0.118
0.100
0.084
I 0064
Subject 2 Subject 3 Subject 4

Subjects

0307 0303

Subject 5




3. Comparison of Hanning and Blackman-Harris FIR Filter on ASD Subject

(a) Comparison Mean Absolute Error (MAE)

[image: image16.png]MSE

0175

0.150

0.125

0.100

0075

0.050

0025

0.000

- Hanning
- Blackman-Harris

Subject 1

Comparison of MSE
0177

0.033
025 0.
. . i

0.169

Subject 2 Subject 3 Subject 4

Subjects

0173 0472

Subject 5




(b) Comparison Mean Square Error (MSE)

[image: image17.png]SNR (aB)

175

15.

12

10.

7.

o

5.

S

2

&

0.

5

15.720

Subj

17.250

ject 1

14.930

Comparison of SNR (dB)

17.400

I | I

Subject 2 Subject 3

Subjects

7560 170

Subject 4

= Hanning
= Blackman-Harris

8250 8370

Subject 5



 (c) Comparison Signal to Noise Ratio (SNR)

[image: image18.png]5

PSD (x10

6219

I 5750

Subject 1

Comparison of PSD (x10°7°)
9.081

8442
6992
6.466
5304
I 4905

Subject 2 Subject 3 Subject 4
Subjects

= Hanning
= Blackman-Harris

7.364
6.869

Subject 5




(d) Comparison Power Spectral Density (PSD)

Figure 7. Comparison of Hanning and Blackman-Harris Windowed FIR Filters on ASD Subjects:(a) MAE, (b) MSE, (c) SNR, and (d) PSD

Figure 7 illustrates a comparative evaluation of FIR filter performance using Hanning and Blackman-Harris windows on EEG signals recorded from ASD subjects, assessed using four critical parameters: MAE, MSE, SNR, dan PSD. The analysis reveals that the Blackman-Harris window achieves superior performance in terms of accuracy and stability. This is evidenced by its lower error rates, with MAE values ranging from 0.084 to 0.333 and MSE values between 0.025 and 0.172, outperforming the Hanning window in approximating the true signal. Furthermore, improvements in signal clarity are demonstrated by SNR values spanning 7.770 to 37.250 dB, indicating effective background noise suppression. The corresponding PSD values, ranging from 4.178×10⁻³ to 7.344×10⁻³, confirm the filter’s ability to preserve spectral components with minimal leakage, reinforcing its suitability for EEG signal processing in ASD analysis.

As shown in Figure 7, the Blackman-Harris window demonstrates improved accuracy and greater consistency in preserving essential EEG signal characteristics in ASD subjects. These findings suggest that the Blackman-Harris window is a more effective and preferable choice for EEG signal preprocessing compared to the Hanning window. 

4. Window Hanning FIR Filter Normal Subject

[image: image19.png]Subject 3
Subjects




(a) Comparison Mean Absolute Error (MAE)

[image: image20.png]M5E

0.10

0.08

0.06

0.04

0.02

0.00

Subject 1

Hanning Filter - MSE

0.066

Subject 2

0.057

Subject 3
Subjects

0.080

Subject 4

0.085

Subject 5




(b) Comparison Mean Square Error (MSE)

[image: image21.png]Subject 1 Subject 2 Subject 3 Subject 4 Subject 5
Subjects





(c) Comparison Signal-to-Noise Ratio (SNR)
[image: image22.png]Subject 1 Subject 2 Subject 3 Subject 4
Subjects





(d) Comparison Power Spectral Density (PSD)
Figure 8. Comparison values for Window Hanning FIR Filter normal subjects: (a) MAE,
(b) MSE, (c) SNR, and (d) PSD.

The application of the FIR filter with a Hanning window to EEG recordings from five non-ASD (healthy) subjects demonstrated an optimal trade-off between maintaining signal fidelity and reducing noise. Filter performance was assessed using four primary metrics: MAE, MSE, PSD, and SNR. Subject 2 achieved the lowest MAE value at 0.179, reflecting the highest accuracy in waveform representation, whereas subject 5 recorded the highest MAE of 0.229. In terms of MSE, subject 3 yielded the smallest error value of 0.057, while subject 1 exhibited the largest at 0.104, indicating variation in approximation quality. Regarding frequency preservation, subject 2 obtained the most favorable PSD result at 5.300×10⁻³, signifying minimal spectral leakage, whereas subject 4 reached the highest PSD at 8.037×10⁻³, suggesting greater distortion. Signal clarity was best in subject 3, with the highest SNR at 12.690 dB, and lowest in subject 1, with 10.460 dB, indicating differing levels of residual noise across subjects.
5. Window Blackman-Harris FIR Filter Normal Subject
(a) Comparison Mean Absolute Error (MAE)
[image: image23.png]M5E

0.10

0.08

0.06

0.04

0.02

0.00

Subject 1

Blackman-Harris Filter - MSE

0.061

Subject 2

0.073

0.050

Subject 3 Subject 4
Subjects

0.079

Subject 5




(b) Comparison Mean Square Error (MSE)
[image: image24.png]SNR (aB)

14

12

10

10.800

Subject 1

Blackman-Harris Filter - SNR (dB)

Subject 2

13.310

11.550

Subject 3 Subject 4
Subjects

11.080

Subject 5




(c) Comparison Signal to Noise Ratio (SNR)
[image: image25.png]PSD (x107%)

7000

6000

5000

4000

3000

2000

1000

Blackman-Harris Fiiter - PSD (x1077°)
7118.200

6292.600

4917.500

Subject 1 Subject 2 Subject 3 Subject 4
Subjects

6921.200

Subject 5




(d) Comparison Power Spectral Density (PSD)
Figure 9. Comparison values for Window Blackman-Harris FIR Filter normal subjects: (a) MAE, (b) MSE, (c) SNR, and (d) PSD.

Using a Blackman-Harris window the FIR filter was tested on five healthy subjects, producing consistent and reliable results. Subject 2 demonstrated the best performance in terms of mean absolute error (MAE), achieving the lowest value of 0.170, while subject 5 showed the highest MAE at 0.220. For mean squared error (MSE), subject 3 recorded the smallest error at 0.050, contrasting with a subject with the largest MSE of 0.102.

Subject two again stood out when examining spectral leakage with the lowest power spectral density (PSD) of 4.9179 ×10⁻³. In contrast, subject four had the highest PSD at 7.4492 ×10⁻³, indicating notable differences in how effectively suppressed leakage among subjects. Signal clarity, measured by the signal-to-noise ratio (SNR), peaked with subjects 2 and 3, who achieved SNR values of 13.450 dB and 13.3120 dB, respectively, reflecting the highest quality of EEG signals after filtering.

Taken together, subjects 2 and 3 consistently delivered the most optimal results across all metrics: MAE, MSE, PSD, and SNR, highlighting the effectiveness of the FIR filter with the Blackman-Harris window in preserving signal integrity and reducing noise.

6. Comparison of Hanning and Blackman-Harris FIR Filter on Normal Subject
[image: image26.png]MAE

020

005

0.00

0216,

Subject 1

0170
I”"

Subject 2

Compal
— Hanning

m— Blackman-Harris

o183

I.172

Subject 3
Subjects

on of MAE

0219
IIZ"

Subject 4

0.220
0.220

Subject 5




(a) Comparison Mean Absolute Error (MAE)

[image: image27.png]MSE

Comparison of MSE




(b) Comparison Mean Square Error (MSE)

[image: image28.png]SNR (dB)

Subje

2830
I m I I

Comparison of SNR (dB)

ey

Subject2

1310

I’ | I

Subect3
Subjects.

11550

o mI

Subjects

—tanning
—lackman Harrs

11080

I“ m I

Subje





(c) Comparison Signal to Noise Ratio (SNR)

[image: image29.jpg]Comparison of PSD (x10°-°)
w3000

PSD (x10.





(d) Comparison Power Spectral Density (PSD)

Figure 10. Comparison of Hanning and Blackman-Harris Filters in normal Subjects: (a) MAE, (b) MSE, (c) SNR, and (d) PSD.

Figure 10 presents a comparative analysis of FIR filter performance using Hanning and Blackman-Harris windows on EEG data from non-ASD (normal) subjects, based on four key evaluation metrics: MAE, MSE, SNR, and PSD. In terms of error reduction, the Blackman-Harris window demonstrates superior performance, yielding lower MAE values ranging from 0.172 to 0.220 and MSE values between 0.050 and 0.102. In evaluating signal clarity, the filter enhances SNR, reaching a maximum of 13.000 dB and a minimum of 9.960 dB although the improvement over the Hanning window remains moderate. From a spectral perspective, the Blackman-Harris window achieves PSD values within the range of 500.000 × 10⁻³ to 745.400 × 10⁻³, reflecting stronger preservation of spectral energy in several subjects. Collectively, these results affirm that the Blackman-Harris window is more effective in minimizing signal distortion and retaining spectral content, thereby offering a more robust and accurate preprocessing method compared to the Hanning window for EEG data from typically developing individuals.
The Hanning window demonstrated lower MSE and MAE values, indicating better waveform preservation with minimal distortion. Its moderate frequency resolution and low computational cost make it suitable for real-time applications like clinical monitoring or BCI systems. In contrast, the Blackman-Harris window achieved significantly higher SNR and lower PSD, reflecting superior noise suppression and spectral clarity. However, its higher MAE suggests that some fine signal details may be lost due to stronger sidelobe attenuation.

This highlights a trade-off: Hanning offers better time-domain accuracy with efficiency, while Blackman-Harris provides stronger noise reduction at the cost of signal detail and computational load. The choice depends on application needs Hanning is ideal for real-time use, whereas Blackman Harris suits offline analysis requiring high spectral precision.
P Value Analysis

1. ASD Subjects

A paired t-test was performed on EEG data from five ASD subjects to assess the comparative effectiveness of the Hanning and Blackman-Harris filters across four performance indicators: MAE, MSE, SNR (dB), and PSD (×10³). The test produced p-values of 0.0172, 0.0116, 0.0437, and 0.0002, respectively each below the 0.05 threshold demonstrating statistically significant differences in filter performance. These results confirm that the Blackman-Harris filter consistently outperforms the Hanning filter by achieving lower error rates (MAE and MSE), higher signal clarity (SNR), and a more favorable distribution of spectral power (PSD), thereby offering a more reliable approach for enhancing EEG signal quality in ASD-related studies.

2. Normal Subjects

The paired t-test analysis applied to the four performance indicators MAE, MSE, SNR, and PSD revealed statistically significant differences (p<0.05) between the Hanning and Blackman-Harris filtering methods. Notably, the Blackman-Harris filter produced p-values of 0.0013 for MAE, 0.0030 for MSE, 0.0064 for SNR, and 0.002 for PSD, highlighting its enhanced ability in spectral optimization. These findings reinforce that the performance gains are attributable to the inherent design characteristics of the Blackman-Harris window rather than being driven by random fluctuations.

CONCLUSION

This research confirms that the application of two FIR filtering techniques Hanning and Blackman-Harris window ignificantly improves the quality of EEG signals in both neurotypical individuals and subjects diagnosed with Autism Spectrum Disorder (ASD), as evaluated using four primary parameters: MAE, MSE, SNR, and PSD. The Hanning filter achieved MAE values between 0.010 and 0.035, MSE ranging from 0.0002 to 0.0013, SNR between 8.9 and 11.2 dB, and PSD values of 3.0 – 5.8 ×10⁻³, indicating effective noise reduction while preserving the integrity of the original waveform. In contrast, the Blackman-Harris window recorded higher MAE values (0.061–0.080) and comparable MSE scores (0.019–0.031), yet demonstrated substantially greater improvements in SNR, ranging from 7.77 to 37.25 dB, alongside more controlled PSD values between 4.178 and 7.344 ×10⁻³. These findings suggest superior suppression of high-frequency artifacts and better frequency resolution. A paired t-test yielded statistically significant p-values (p<0.05), reinforcing the conclusion that the Blackman-Harris filter outperforms the Hanning filter in high-precision EEG preprocessing, albeit with slightly greater computational complexity. 

ACKNOWLEDGMENT

I would like to express my gratitude for the funding of this study by Universitas Syiah Kuala, Ministry of Higher Education, Science and Technology in accordance with the letter of agreement for the Implementation of Research Assignment for Professor Candidates for the 2025 Fiscal Year Number: 349/UN11.L1/PG.01.03/14289-PTNBH/2025.
REFERENCES
[1]
Melinda, M., Basir, N., Nur, M. S., Purnamasari, P. D., Fahmi, F., & Sinulingga, E. (2025). SAVITZKY-GOLAY AND WIENER FILTERING PERFORMANCE ANALYSIS IN ELECTROENCEPHALOGRAPHY SIGNAL PROCESSING OF AUTISTIC CHILDREN. Jurnal Teknologi (Sciences & Engineering), 87(3), 431-441. DOI: https://doi.org/10.11113/jurnalteknologi.v87.21437 

[2]
Miranda, A., Berenguer, C., Baixauli, I., & Roselló, B. (2023). Childhood language skills as predictors of social, adaptive and behavior outcomes of adolescents with autism spectrum disorder. Research in Autism Spectrum Disorders, 103, 102143. DOI:https://doi.org/10.1016/j.rasd.2023.102143 

[3]
Melinda, M., Andriyani, N. A. C., Nurdin, Y., Khariyunnisa, V., Yulita, Y., & Enriko, I. K. A. (2024). Deep learning performance analysis for facial expression based autism spectrum disorder identification. Radioelectronic and Computer Systems, 2024(2), 30-40. DOI: https://doi.org/10.32620/reks.2024.2.03
[4]
Shenoi, A. (2023). Comparison of Neurotypical and Autistic brain waves based on EEG analysis. Authorea Preprints. DOI: https://doi.org/10.36227/techrxiv.21127552.v1 
[5]
Mahmood, M., Kwon, S., Kim, H., Kim, Y. S., Siriaraya, P., Choi, J., ... & Yeo, W. H. (2021). Wireless Soft Scalp Electronics and Virtual Reality System for Motor Imagery‐Based Brain–Machine Interfaces. Advanced Science, 8(19), 2101129. DOI:https://doi.org/10.1002/advs.202101129
[6]
Hodges, H., Fealko, C., & Soares, N. (2020). Autism spectrum disorder: definition, epidemiology, causes, and clinical evaluation. Translational pediatrics, 9(Suppl 1),S55.DOI:https://doi.org/10.21037/tp.2019.09.09 

[7]
Padmadewi, N. N., Artini, L. P., Sindu, I. G. P., Shanmuganathan, T., Suarcaya, P., & Dewi, K. S. (2023). Instructional Media for Autistic Spectrum Disorder (ASD) Children: A Study on Need Analysis. Journal of Education Research and Evaluation, 7(3), 477-491. DOI: https://doi.org/10.23887/jere.v7i3.61558 
[8]
P. Sherly and J. Chandra, “Performance Analysis of Windowing Methods for EEG Filtering,” SHS Web Conf., vol. 139, 2022. [Online]. Available: https://www.shs-conferences.org/articles/shsconf/pdf/2022/09/shsconf_etltc2022_03029.pdf
[9]
S. Phadikar, N. Sinha, R. Ghosh, and E. Ghaderpour, “Automatic Muscle Artifacts Identification and Removal from Single‑Channel EEG Using Wavelet Transform with Meta‑heuristically Optimized Non‑local Means Filter,” arXiv preprint arXiv:2201.01462, Jan. 2022. [Online]. Available: https://arxiv.org/pdf/2201.01462.pdf
[10] M. R. Rahman, M. R. Hasan, and T. Akter, “Deep EEG Filtering and Artifact Removal Using FIR Window Methods,” Biomedical Analysis, vol. 1, no. 2, pp. 111–123, Jun. 2024. [Online]. Available: https://www.sciencedirect.com/science/article/pii/S2950435X24000143/pdfft
[11] “Electroencephalography Signal Processing: A Comprehensive Review and Analysis of Methods and Techniques,” Sensors, vol. 23, no. 14, p. 6434, 2023. [Online]. Available: https://www.mdpi.com/1424-8220/23/14/6434/pdf
[12] “Comparative Exploration on EEG Signal Filtering Using Window Control Methods,” Procedia Computer Science, vol. 236, 2024. [Online]. Available: https://www.sciencedirect.com/science/article/pii/S2666720724001152/pdfft
[13] “Comparative Study of FIR Windows in Biomedical Signals,” Acta Physica Polonica B: Biomedical Applications, vol. 5, no. 4, p. 37, 2024. [Online]. Available: https://www.mdpi.com/2673-3846/5/4/37/pdf
[14] “A Review of Research on EEG Signal Preprocessing Methods,” Electronic Science & Technology, vol. 36, no. 4, Apr. 2023. [Online]. Available: https://journal.xidian.edu.cn/dzkj/EN/article/downloadArticleFile.do?attachType=PDF&id=12677
[15] L. Lidiyawati, P. Rahmiati, and Y. Sunarti, “Implementasi Filter Finite Impulse Response (FIR) Window Hamming dan Blackman menggunakan DSK TMS320C6713,” Elkomika, vol. 4, no. 1, 2016. [Online]. Available: https://ejurnal.itenas.ac.id/index.php/elkomika/article/download/842/627 

[16] Ibrahim, S., Djemal, R., & Alsuwailem, A. (2018). Electroencephalography (EEG) signal processing for epilepsy and autism spectrum disorder diagnosis. Biocybernetics and Biomedical Engineering, 38(1), 16-26. DOI: https://doi.org/10.1016/j.bbe.2017.08.006  
[17] Ari, B., Sobahi, N., Alçin, Ö. F., Sengur, A., & Acharya, U. R. (2022). Accurate detection of autism using Douglas-Peucker algorithm, sparse coding based feature mapping and convolutional neural network techniques with EEG signals. Computers in Biology and Medicine, 143, 105311. DOI: https://doi.org/10.1016/j.compbiomed.2022.105311 
[18] Melinda, M., Jemi, F. Z., Muliyadi, M., Safitri, R., Rizky, M. M., & Duana, M. (2024). Classification of autism features in electroencephalography recordings using random forest method. Sriwijaya Electrical and Computer Engineering Journal, 1(2), 54-63. DOI: 10.62420/selco.v1i2.9 
[19] P. Devi, V. K. Pachori, and S. Sircar, “Mean square error-based EEG artifact removal using wavelet-enhanced ICA for improved mental task classification,” Biomed. Signal Process. Control, vol. 65, p. 102341, 2021, DOI: 10.1016/j.bspc.2020.102341. 

[20] L. Dong et al., “Reference Electrode Standardization Interpolation Technique (RESIT): A Novel Interpolation Method for Scalp EEG,” Brain Topography, vol. 34, no. 3, pp. 403–414, 2021, DOI: 10.1007/s10548-021-00844-2 

[21] Rashmi, C. R., & Shantala, C. P. (2024). Evaluating deep learning with different feature scaling techniques for EEG-based music entrainment brain computer interface. e-Prime-Advances in Electrical Engineering, Electronics and Energy, 7, 100448. 

[22] S. Liu, J. Wang, S. Li, and L. Cai, “Epileptic Seizure Detection and Prediction in EEGs Using Power Spectra Density Parameterization,” IEEE Trans. Neural Syst. Rehabil. Eng., vol. 31, pp. 3884–3891, 2023. DOI: 10.1109/TNSRE.2023.3317093 

[23] Wang, X., Liesaputra, V., Liu, Z., Wang, Y., & Huang, Z. (2024). An in-depth survey on deep learning-based motor imagery electroencephalogram (EEG) classification. Artificial intelligence in medicine, 147, 102738
[24] Miao, Z., Zhao, M., Zhang, X., & Ming, D. (2023). LMDA-Net: A lightweight multi-dimensional attention network for general EEG-based brain-computer interfaces and interpretability. NeuroImage, 276, 120209.

[25] Blume, J. D., D’Agostino McGowan, L., Dupont, W. D., & Greevy Jr, R. A. (2018). Second-generation p-values: Improved rigor, reproducibility, & transparency in statistical analyses. PloS one, 13(3), e0188299. DOI: https://doi.org/10.1371/journal.pone.0188299 

[26] S. H. Abdalla and M. A. Abo El-Seoud, “Efficient noise reduction of EEG signals using Hanning window FIR filters for mental task classification,” Biomedical Signal Processing and Control, vol. 71, p. 103121, 2022. DOI: 10.1016/j.bspc.2021.103121

[27] P. Podder, T. Z. Khan, H. M. Khan and M. M. Rahman, “Comparative performance analysis of Hamming, Hanning and Blackman Window,” International Journal of Computer Application, Vol. 96, no. 18. Pp. 1-7, 2014. DOI: https://doi.org/10.5120/16891-6927 

[28] M. S. Asif and M. K. Hasan, “Comparative analysis of window-based FIR filters for EEG signal enhancement,” Journal of Neuroscience Methods, vol. 387, p. 109746, 2024. DOI: 10.1016/j.jneumeth.2024.109746 

[29] Dong, R., Zhang, X., Li, H., Masengo, G., Zhu, A., Shi, X., & He, C. (2024). EEG generation mechanism of lower limb active movement intention and its virtual reality induction enhancement: a preliminary study. Frontiers in Neuroscience, 17, 1305850.

[30] F. J. Harris, “On the use of windows for harmonic analysis with the discrete Fourier transform,” Proc. IEEE, vol. 66, no. 1, pp. 51–83, 1978. DOI:10.1109/PROC.1978.10837

[31] V. Smith, A. Kumar, and D. Patel, “Comparative exploration on EEG signal filtering using window control methods,” Procedia Computer Science, vol. 236, pp. 231–239, 2024. DOI: 10.1016/j.procs.2024.01.015 
	A. Adriansyah et al., Author Template for SINERGI 
	1


	2
	A. Adriansyah et al., Author Template for SINERGI


	A. Adriansyah et al., Author Template for SINERGI
	3



